## Sheet1
0 | 23459.8618
1 | 31810.595
2 | 41265.6439
3 | 51726.8339
4 | 63095.9901
5 | 75274.9378
6 | 88165.5022
7 | 101669.5085
8 | 115688.7821
9 | 130125.148
10 | 144880.4315
11 | 159856.4579
12 | 174955.0524
13 | 190061.8109
14 | 205191.9951
15 | 220322.5623
16 | 235453.1295
17 | 250583.6967
18 | 265714.264
19 | 280844.8312
20 | 295975.3984
21 | 311105.9656
22 | 326236.5328
23 | 341371.9597
24 | 356507.3865
25 | 371642.8133
26 | 386778.2401
27 | 401913.6669
28 | 417049.0938
29 | 432184.5206
30 | 447319.5644
31 | 462454.6082
32 | 477589.652
33 | 492724.6958
34 | 507859.7396
35 | 522994.7834
36 | 538129.8272
37 | 553264.871
38 | 568399.9148
39 | 583534.9586
40 | 598670.0024
41 | 613806.8667
42 | 628943.7311
43 | 644080.5954
44 | 659217.4598
45 | 674354.3241
46 | 689491.1885
47 | 704628.0528
48 | 719764.9172
49 | 734901.7815
50 | 750038.6459
51 | 765175.5103
52 | 780312.3746
53 | 795449.239
54 | 810586.1033
55 | 825722.9677
56 | 840859.832
57 | 855996.6964
58 | 871128.7011
59 | 886260.7059
60 | 901392.7106
61 | 916524.7154
62 | 931656.7201
63 | 946788.7249
64 | 961920.7296
65 | 977052.7344
66 | 992184.7391
67 | 1007316.7439
68 | 1022448.7486
69 | 1037580.7533
70 | 1052712.7581
71 | 1067844.7628
72 | 1082976.7676
73 | 1098108.7723
74 | 1113240.7771
75 | 1128372.7818
76 | 1143504.7866
77 | 1158636.7913
78 | 1173768.7961
79 | 1188900.8008
80 | 1204032.8056
81 | 1219164.8103
82 | 1234296.8151
83 | 1249428.8198
84 | 1264560.8246
85 | 1279692.8293
86 | 1294824.8341
87 | 1309956.8388
88 | 1325088.8436
89 | 1340220.8483
90 | 1355352.8531
91 | 1370484.8578
92 | 1385616.8626
93 | 1400748.8673
94 | 1415880.8721
95 | 1431012.8768
96 | 1446144.8816
97 | 1461276.8863
98 | 1476408.891
99 | 1491540.8958
100 | 1506672.9005
101 | 1521804.9053
102 | 1536935.0895
103 | 1552065.2737
104 | 1567195.4579
105 | 1582325.6421
106 | 1597455.8263
107 | 1612586.0105
108 | 1627716.1947
109 | 1642846.3789
110 | 1657976.5631
111 | 1673106.7472
112 | 1688236.9314
113 | 1703367.1156
114 | 1718497.2998
115 | 1733627.484
116 | 1748757.6682
117 | 1763887.8524
118 | 1779018.0366
119 | 1794148.2208
120 | 1809278.405
121 | 1824408.5892
122 | 1839538.7734
123 | 1854668.9576
124 | 1869799.1418
125 | 1884929.326
126 | 1900059.5102
127 | 1915189.6944
128 | 1930319.8786
129 | 1945450.0628
130 | 1960580.247
131 | 1975710.4312
132 | 1990840.6153
133 | 2005970.7995
134 | 2021100.9837
135 | 2036231.1679
136 | 2051361.3521
137 | 2066491.5363
138 | 2081349.0303
139 | 2095593.8564
140 | 2109838.6826
141 | 2124083.5088
142 | 2138328.3349
143 | 2152573.1611
144 | 2166817.9873
145 | 2181062.8135
146 | 2195307.6396
147 | 2209552.4658
148 | 2223797.292
149 | 2238639.0772
150 | 2253769.2614
151 | 2268899.4456
152 | 2284029.6298
153 | 2299159.814
154 | 2314289.9982
155 | 2329420.1824
156 | 2344550.3666
157 | 2359680.5508
158 | 2374810.735
159 | 2389940.9192
160 | 2405071.1034
161 | 2420201.2876
162 | 2435331.4718
163 | 2450461.656
164 | 2465591.8402
165 | 2480722.0244
166 | 2495852.2086
167 | 2510982.3927
168 | 2526112.5769
169 | 2541242.7611
170 | 2556372.9453
171 | 2571503.1295
172 | 2586633.3137
173 | 2601763.4979
174 | 2616893.6821
175 | 2632023.8663
176 | 2647154.0505
177 | 2662284.2347
178 | 2677413.5361
179 | 2692542.6278
180 | 2707671.7195
181 | 2722800.8111
182 | 2737929.9028
183 | 2753058.9945
184 | 2768188.0862
185 | 2783317.1778
186 | 2798446.2695
187 | 2813575.3612
188 | 2828704.4528
189 | 2843833.5445
190 | 2858962.6362
191 | 2874091.7278
192 | 2889220.8195
193 | 2904349.9112
194 | 2919479.0028
195 | 2934608.0945
196 | 2949737.1862
197 | 2964866.2779
198 | 2979995.3695
199 | 2995124.4612
200 | 3010253.5529
201 | 3025382.6445
202 | 3040511.7362
203 | 3055640.8279
204 | 3070769.9195
205 | 3085899.0112
206 | 3101028.1029
207 | 3116157.1946
208 | 3131286.2862
209 | 3146415.3779
210 | 3161544.4696
211 | 3176673.5612
212 | 3191802.6529
213 | 3206931.7446
214 | 3222060.8362
215 | 3237189.9279
216 | 3252319.0196
217 | 3267448.1113
218 | 3282577.2029
219 | 3297706.2946
220 | 3312835.3863
221 | 3327964.4779
222 | 3343093.5696
223 | 3358222.6613
224 | 3373351.7529
225 | 3388480.8446
226 | 3403609.9363
227 | 3418739.0279
228 | 3433868.1196
229 | 3448997.2113
230 | 3464126.303
231 | 3479255.3946
232 | 3494384.4863
233 | 3509513.578
234 | 3524642.6696
235 | 3539771.7613
236 | 3554900.853
237 | 3570029.9446
238 | 3585159.0363
239 | 3600288.128
240 | 3615417.2197
241 | 3630546.3113
242 | 3645675.403
243 | 3660804.4947
244 | 3675933.5863
245 | 3691062.678
246 | 3706191.7697
247 | 3721320.8613
248 | 3736449.953
249 | 3751579.0447
250 | 3766708.1363
251 | 3781837.228
252 | 3796966.3197
253 | 3812095.4114
254 | 3827224.503
255 | 3842353.5947
256 | 3857482.6864
257 | 3872611.778
258 | 3887740.8697
259 | 3902869.9614
260 | 3917999.053
261 | 3933128.1447
262 | 3948257.2364
263 | 3963386.3281
264 | 3978515.4197
265 | 3993644.5114
266 | 4008773.6031
267 | 4023902.6947
268 | 4039031.7864
269 | 4054160.8781
270 | 4069289.9697
271 | 4084419.0614
272 | 4099548.1531
273 | 4114677.2447
274 | 4129806.3364
275 | 4144935.4281
276 | 4160064.5198
277 | 4175193.6114
278 | 4190322.7031
279 | 4205451.7948
280 | 4220580.8864
281 | 4235709.9781
282 | 4250839.0698
283 | 4265968.1614
284 | 4281097.2531
285 | 4296226.3448
286 | 4311355.4365
287 | 4326484.5281
288 | 4341613.6198
289 | 4356742.7115
290 | 4371871.8031
291 | 4387000.8948
292 | 4402129.9865
293 | 4417259.0781
294 | 4432388.1698
295 | 4447517.2615
296 | 4462646.3532
297 | 4477775.4448
298 | 4492904.5365
299 | 4508033.6282
300 | 4523162.7198
301 | 4538291.8115
302 | 4553420.9032
303 | 4568549.9948
304 | 4583679.0865
305 | 4598808.1782
306 | 4613937.2698
307 | 4629066.3615
308 | 4644195.4532
309 | 4659324.5449
310 | 4674453.6365
311 | 4689582.7282
312 | 4704711.8199
313 | 4719840.9115
314 | 4734970.0032
315 | 4750099.0949
316 | 4765228.1865
317 | 4780357.2782
318 | 4795486.3699
319 | 4810615.4616
320 | 4825744.5532
321 | 4840873.6449
322 | 4856002.7366
323 | 4871131.8282
324 | 4886260.9199
325 | 4901390.0116
326 | 4916519.1032
327 | 4931648.1949
328 | 4946777.2866
329 | 4961906.3782
330 | 4977035.4699
331 | 4992164.5616
332 | 5007293.6533
333 | 5022422.7449
334 | 5037551.8366
335 | 5052680.9283
336 | 5067810.0199
337 | 5082939.1116
338 | 5098068.2033
339 | 5113197.2949
340 | 5128326.3866
341 | 5143455.4783
342 | 5158584.57
343 | 5173713.6616
344 | 5188842.7533
345 | 5203971.845
346 | 5219100.9366
347 | 5234230.0283
348 | 5249359.12
349 | 5264488.2116
350 | 5279617.3033
351 | 5294746.395
352 | 5309875.4866
353 | 5325004.5783
354 | 5340133.67
355 | 5355262.7617
356 | 5370391.8533
357 | 5385520.945
358 | 5400650.0367
359 | 5415779.1283
360 | 5430910.0462
361 | 5446041.3979
362 | 5461172.7497
363 | 5476304.1015
364 | 5491435.4533
365 | 5506566.805
366 | 5521698.1568
367 | 5536829.5086
368 | 5551960.8604
369 | 5567092.2121
370 | 5582223.5639
371 | 5597354.9157
372 | 5612486.2675
373 | 5627617.6192
374 | 5642748.971
375 | 5657880.3228
376 | 5673011.6746
377 | 5688143.0263
378 | 5703274.3781
379 | 5718405.7299
380 | 5733537.0817
381 | 5748668.4334
382 | 5763799.7852
383 | 5778931.137
384 | 5794062.4888
385 | 5809193.8405
386 | 5824325.1923
387 | 5839456.5441
388 | 5854587.8959
389 | 5869719.2476
390 | 5884850.5994
391 | 5899981.9512
392 | 5915113.303
393 | 5930244.6547
394 | 5945376.0065
395 | 5960507.3583
396 | 5975638.7101
397 | 5990770.0618
398 | 6005901.4136
399 | 6021032.7654
400 | 6036164.1172
401 | 6051295.4689
402 | 6066426.8207
403 | 6081558.1725
404 | 6096689.5243
405 | 6111820.876
406 | 6126952.2278
407 | 6142083.5796
408 | 6157214.9314
409 | 6172346.2831
410 | 6187477.6349
411 | 6202608.9867
412 | 6217740.3385
413 | 6232871.6902
414 | 6248003.042
415 | 6263134.3938
416 | 6278265.7456
417 | 6293397.0973
418 | 6308528.4491
419 | 6323659.8009
420 | 6338791.1527
421 | 6353922.5044
422 | 6369053.8562
423 | 6384185.208
424 | 6399316.5598
425 | 6414447.9115
426 | 6429579.2633
427 | 6444710.6151
428 | 6459841.9669
429 | 6474973.3186
430 | 6490104.6704
431 | 6505236.0222
432 | 6520367.374
433 | 6535498.7257
434 | 6550630.0775
435 | 6565761.4293
436 | 6580892.7811
437 | 6596024.1328
438 | 6611155.4846
439 | 6626286.8364
440 | 6641418.1882
441 | 6656549.5399
442 | 6671680.8917
443 | 6686812.2435
444 | 6701943.5953
445 | 6717074.947
446 | 6732206.2988
447 | 6747337.6506
448 | 6762469.0024
449 | 6777600.3541
450 | 6792731.7059
451 | 6807863.0577
452 | 6822994.4095
453 | 6838125.7612
454 | 6853257.113
455 | 6868388.4648
456 | 6883519.8166
457 | 6898651.1683
458 | 6913782.5201
459 | 6928913.8719
460 | 6944045.2237
461 | 6959176.5754
462 | 6974307.9272
463 | 6989439.279
464 | 7004570.6308
465 | 7019701.9825
466 | 7034833.3343
467 | 7049964.6861
468 | 7065096.0379
469 | 7080227.3896
470 | 7095358.7414
471 | 7110490.0932
472 | 7125621.445
473 | 7140752.7967
474 | 7155884.1485
475 | 7171015.5003
476 | 7186146.8521
477 | 7201278.2038
478 | 7216409.5556
479 | 7231540.9074
480 | 7246672.2592
481 | 7261803.6109
482 | 7276934.9627
483 | 7292066.3145
484 | 7307197.6663
485 | 7322329.018
486 | 7337460.3698
487 | 7352591.7216
488 | 7367723.0734
489 | 7382854.4251
490 | 7397985.7769
491 | 7413117.1287
492 | 7428248.4805
493 | 7443379.8322
494 | 7458511.184
495 | 7473642.5358
496 | 7488773.8876
497 | 7503905.2393
498 | 7519036.5911
499 | 7534167.9429
500 | 7549299.2947
501 | 7564430.6464
502 | 7579561.9982
503 | 7594693.35
504 | 7609824.7018
505 | 7624956.0535
506 | 7640087.4053
507 | 7655218.7571
508 | 7670350.1089
509 | 7685481.4606
510 | 7700612.8124
511 | 7715744.1642
512 | 7730875.516
513 | 7746006.8677
514 | 7761138.2195
515 | 7776269.5713
516 | 7791400.9231
517 | 7806532.2748
518 | 7821663.6266
519 | 7836794.9784
520 | 7851926.3301
521 | 7867057.6819
522 | 7882189.0337
523 | 7897320.3855
524 | 7912451.7372
525 | 7927583.089
526 | 7942714.4408
527 | 7957845.7926
528 | 7972977.1443
529 | 7988108.4961
530 | 8003239.8479
531 | 8018371.1997
532 | 8033502.5514
533 | 8048633.9032
534 | 8063765.255
535 | 8078896.6068
536 | 8094027.9585
537 | 8109159.3103
538 | 8124290.6621
539 | 8139422.0139
540 | 8154553.3656
541 | 8169684.7174
542 | 8184817.4659
543 | 8199950.5463
544 | 8215083.6268
545 | 8230216.7072
546 | 8245349.7876
547 | 8260482.868
548 | 8275615.9484
549 | 8290749.0288
550 | 8305882.1092
551 | 8321015.1896
552 | 8336148.27
553 | 8351281.3504
554 | 8366414.4308
555 | 8381547.5113
556 | 8396680.5917
557 | 8411813.6721
558 | 8426946.7525
559 | 8442079.8329
560 | 8457212.9133
561 | 8472345.9937
562 | 8487479.0741
563 | 8502612.1545
564 | 8517745.2349
565 | 8532878.3153
566 | 8548011.3958
567 | 8563144.4762
568 | 8578277.5566
569 | 8593410.637
570 | 8608543.7174
571 | 8623676.7978
572 | 8638809.8782
573 | 8653942.9586
574 | 8669076.039
575 | 8684209.1194
576 | 8699342.1999
577 | 8714475.2803
578 | 8729608.3607
579 | 8744741.4411
580 | 8759874.5215
581 | 8775007.6019
582 | 8790140.6823
583 | 8805273.7627
584 | 8820406.8431
585 | 8835539.9235
586 | 8850673.0039
587 | 8865806.0844
588 | 8880939.1648
589 | 8896072.2452
590 | 8911205.3256
591 | 8926338.406
592 | 8941471.4864
593 | 8956604.5668
594 | 8971737.6472
595 | 8986870.7276
596 | 9002003.808
597 | 9017136.8885
598 | 9032269.9689
599 | 9047403.0493
600 | 9062536.1297
601 | 9077669.2101
602 | 9092802.2905
603 | 9107935.3709
604 | 9123068.4513
605 | 9138201.5317
606 | 9153334.6121
607 | 9168467.6925
608 | 9183600.773
609 | 9198733.8534
610 | 9213866.9338
611 | 9229000.0142
612 | 9244133.0946
613 | 9259266.175
614 | 9274399.2554
615 | 9289532.3358
616 | 9304665.4162
617 | 9319798.4966
618 | 9334931.577
619 | 9350064.6575
620 | 9365197.7379
621 | 9380330.8183
622 | 9395463.8987
623 | 9410596.9791
624 | 9425730.0595
625 | 9440863.1399
626 | 9455996.2203
627 | 9471129.3007
628 | 9486262.3811
629 | 9501395.4616
630 | 9516528.542
631 | 9531661.6224
632 | 9546794.7028
633 | 9561927.7832
634 | 9577060.8636
635 | 9592193.944
636 | 9607327.0244
637 | 9622460.1048
638 | 9637593.1852
639 | 9652726.2656
640 | 9667859.3461
641 | 9682992.4265
642 | 9698125.5069
643 | 9713258.5873
644 | 9728391.6677
645 | 9743524.7481
646 | 9758657.8285
647 | 9773790.9089
648 | 9788923.9893
649 | 9804057.0697
650 | 9819190.1501
651 | 9834323.2306
652 | 9849456.311
653 | 9864589.3914
654 | 9879722.4718
655 | 9894855.5522
656 | 9909988.6326
657 | 9925121.713
658 | 9940254.7934
659 | 9955387.8738
660 | 9970520.9542
661 | 9985654.0347
662 | 10000787.1151
663 | 10015920.1955
664 | 10031053.2759
665 | 10046186.3563
666 | 10061319.4367
667 | 10076452.5171
668 | 10091585.5975
669 | 10106718.6779
670 | 10121851.7583
671 | 10136984.8387
672 | 10152117.9192
673 | 10167250.9996
674 | 10182384.08
675 | 10197517.1604
676 | 10212650.2408
677 | 10227783.3212
678 | 10242916.4016
679 | 10258049.482
680 | 10273182.5624
681 | 10288315.6428
682 | 10303448.7233
683 | 10318581.8037
684 | 10333714.8841
685 | 10348847.9645
686 | 10363981.0449
687 | 10379114.1253
688 | 10394247.2057
689 | 10409380.2861
690 | 10424513.3665
691 | 10439646.4469
692 | 10454779.5273
693 | 10469912.6078
694 | 10485045.6882
695 | 10500178.7686
696 | 10515311.849
697 | 10530444.9294
698 | 10545578.0098
699 | 10560711.0902
700 | 10575844.1706
701 | 10590977.251
702 | 10606110.3314
703 | 10621243.4118
704 | 10636376.4923
705 | 10651509.5727
706 | 10666642.6531
707 | 10681775.7335
708 | 10696908.8139
709 | 10712041.8943
710 | 10727174.9747
711 | 10742308.0551
712 | 10757441.1355
713 | 10772574.2159
714 | 10787707.2964
715 | 10802840.3768
716 | 10817973.4572
717 | 10833106.5376
718 | 10848239.618
719 | 10863372.6984
720 | 10878505.7788
721 | 10893638.8592
722 | 10908771.9396
723 | 10923904.9671
724 | 10939037.5575
725 | 10954170.1479
726 | 10969302.7383
727 | 10984435.3288
728 | 10999567.9192
729 | 11014700.5096
730 | 11029833.1
731 | 11044965.6904
732 | 11060098.2808
733 | 11075230.8712
734 | 11090363.4616
735 | 11105496.052
736 | 11120628.6424
737 | 11135761.2329
738 | 11150893.8233
739 | 11166026.4137
740 | 11181159.0041
741 | 11196291.5945
742 | 11211424.1849
743 | 11226556.7753
744 | 11241689.3657
745 | 11256821.9561
746 | 11271954.5466
747 | 11287087.137
748 | 11302219.7274
749 | 11317352.3178
750 | 11332484.9082
751 | 11347617.4986
752 | 11362750.089
753 | 11377882.6794
754 | 11393015.2698
755 | 11408147.8602
756 | 11423280.4507
757 | 11438413.0411
758 | 11453545.6315
759 | 11468678.2219
760 | 11483810.8123
761 | 11498943.4027
762 | 11514075.9931
763 | 11529208.5835
764 | 11544341.1739
765 | 11559473.7643
766 | 11574606.3548
767 | 11589738.9452
768 | 11604871.5356
769 | 11620004.126
770 | 11635136.7164
771 | 11650269.3068
772 | 11665401.8972
773 | 11680534.4876
774 | 11695667.078
775 | 11710799.6684
776 | 11725932.2589
777 | 11741064.8493
778 | 11756197.4397
779 | 11771330.0301
780 | 11786462.6205
781 | 11801595.2109
782 | 11816727.8013
783 | 11831860.3917
784 | 11846992.9821
785 | 11862125.5725
786 | 11877258.163
787 | 11892390.7534
788 | 11907523.3438
789 | 11922655.9342
790 | 11937788.5246
791 | 11952921.115
792 | 11968053.7054
793 | 11983186.2958
794 | 11998318.8862
795 | 12013451.4766
796 | 12028584.0671
797 | 12043716.6575
798 | 12058849.2479
799 | 12073981.8383
800 | 12089114.4287
801 | 12104247.0191
802 | 12119379.6095
803 | 12134512.1999
804 | 12149644.7903
805 | 12164777.3808
806 | 12179909.9712
807 | 12195042.5616
808 | 12210175.152
809 | 12225307.7424
810 | 12240440.3328
811 | 12255572.9232
812 | 12270705.5136
813 | 12285838.104
814 | 12300970.6944
815 | 12316103.2849
816 | 12331235.8753
817 | 12346368.4657
818 | 12361501.0561
819 | 12376633.6465
820 | 12391766.2369
821 | 12406898.8273
822 | 12422031.4177
823 | 12437164.0081
824 | 12452296.5985
825 | 12467429.189
826 | 12482561.7794
827 | 12497694.3698
828 | 12512826.9602
829 | 12527959.5506
830 | 12543092.141
831 | 12558224.7314
832 | 12573357.3218
833 | 12588489.9122
834 | 12603622.5026
835 | 12618755.0931
836 | 12633887.6835
837 | 12649020.2739
838 | 12664152.8643
839 | 12679285.4547
840 | 12694418.0451
841 | 12709550.6355
842 | 12724683.2259
843 | 12739815.8163
844 | 12754948.4067
845 | 12770080.9972
846 | 12785213.5876
847 | 12800346.178
848 | 12815478.7684
849 | 12830611.3588
850 | 12845743.9492
851 | 12860876.5396
852 | 12876009.13
853 | 12891141.7204
854 | 12906274.3108
855 | 12921406.9013
856 | 12936539.4917
857 | 12951672.0821
858 | 12966804.6725
859 | 12981937.2629
860 | 12997069.8533
861 | 13012202.4437
862 | 13027335.0341
863 | 13042467.6245
864 | 13057600.215
865 | 13072732.8054
866 | 13087865.3958
867 | 13102997.9862
868 | 13118130.5766
869 | 13133263.167
870 | 13148395.7574
871 | 13163528.3478
872 | 13178660.9382
873 | 13193793.5286
874 | 13208926.1191
875 | 13224058.7095
876 | 13239191.2999
877 | 13254323.8903
878 | 13269456.4807
879 | 13284589.0711
880 | 13299721.6615
881 | 13314854.2519
882 | 13329986.8423
883 | 13345119.4327
884 | 13360252.0232
885 | 13375384.6136
886 | 13390517.204
887 | 13405649.7944
888 | 13420782.3848
889 | 13435914.9752
890 | 13451047.5656
891 | 13466180.156
892 | 13481312.7464
893 | 13496445.3368
894 | 13511577.9273
895 | 13526710.5177
896 | 13541843.1081
897 | 13556975.6985
898 | 13572108.2889
899 | 13587240.8793
900 | 13602373.4697
901 | 13617506.0601
902 | 13632638.6505
903 | 13647771.2409
904 | 13662903.8314
905 | 13678037.5558
906 | 13693180.6463
907 | 13708323.7369
908 | 13723466.8275
909 | 13738609.918
910 | 13753753.0086
911 | 13768896.0991
912 | 13784039.1897
913 | 13799182.2802
914 | 13814325.3708
915 | 13829468.4614
916 | 13844611.5519
917 | 13859754.6425
918 | 13874897.733
919 | 13890040.8236
920 | 13905183.9141
921 | 13920327.0047
922 | 13935470.0952
923 | 13950613.1858
924 | 13965756.2764
925 | 13980899.3669
926 | 13996042.4575
927 | 14011185.548
928 | 14026328.6386
929 | 14041471.7291
930 | 14056614.8197
931 | 14071757.9103
932 | 14086901.0008
933 | 14102044.0914
934 | 14117187.1819
935 | 14132330.2725
936 | 14147473.363
937 | 14162616.4536
938 | 14177759.5442
939 | 14192902.6347
940 | 14208045.7253
941 | 14223188.8158
942 | 14238331.9064
943 | 14253474.9969
944 | 14268618.0875
945 | 14283761.178
946 | 14298904.2686
947 | 14314047.3592
948 | 14329190.4497
949 | 14344333.5403
950 | 14359476.6308
951 | 14374619.7214
952 | 14389762.8119
953 | 14404905.9025
954 | 14420048.9931
955 | 14435192.0836
956 | 14450335.1742
957 | 14465478.2647
958 | 14480621.3553
959 | 14495764.4458
960 | 14510907.5364
961 | 14526050.627
962 | 14541193.7175
963 | 14556336.8081
964 | 14571479.8986
965 | 14586622.9892
966 | 14601766.0797
967 | 14616909.1703
968 | 14632052.2609
969 | 14647195.3514
970 | 14662338.442
971 | 14677481.5325
972 | 14692624.6231
973 | 14707767.7136
974 | 14722910.8042
975 | 14738053.8947
976 | 14753196.9853
977 | 14768340.0759
978 | 14783483.1664
979 | 14798626.257
980 | 14813769.3475
981 | 14828912.4381
982 | 14844055.5286
983 | 14859198.6192
984 | 14874341.7098
985 | 14889484.8003
986 | 14904627.8909
987 | 14919770.9814
988 | 14934914.072
989 | 14950057.1625
990 | 14965200.2531
991 | 14980343.3437
992 | 14995486.4342
993 | 15010629.5248
994 | 15025772.6153
995 | 15040915.7059
996 | 15056058.7964
997 | 15071201.887
998 | 15086344.9776
999 | 15101488.0681
1000 | 15116631.1587
1001 | 15131774.2492
1002 | 15146917.3398
1003 | 15162060.4303
1004 | 15177203.5209
1005 | 15192346.6114
1006 | 15207489.702
1007 | 15222632.7926
1008 | 15237775.8831
1009 | 15252918.9737
1010 | 15268062.0642
1011 | 15283205.1548
1012 | 15298348.2453
1013 | 15313491.3359
1014 | 15328634.4265
1015 | 15343777.517
1016 | 15358920.6076
1017 | 15374063.6981
1018 | 15389206.7887
1019 | 15404349.8792
1020 | 15419492.9698
1021 | 15434636.0604
1022 | 15449779.1509
1023 | 15464922.2415
1024 | 15480065.332
1025 | 15495208.4226
1026 | 15510351.5131
1027 | 15525494.6037
1028 | 15540637.6942
1029 | 15555780.7848
1030 | 15570923.8754
1031 | 15586066.9659
1032 | 15601210.0565
1033 | 15616353.147
1034 | 15631496.2376
1035 | 15646639.3281
1036 | 15661782.4187
1037 | 15676925.5093
1038 | 15692068.5998
1039 | 15707211.6904
1040 | 15722354.7809
1041 | 15737497.8715
1042 | 15752640.962
1043 | 15767784.0526
1044 | 15782927.1432
1045 | 15798070.2337
1046 | 15813213.3243
1047 | 15828356.4148
1048 | 15843499.5054
1049 | 15858642.5959
1050 | 15873785.6865
1051 | 15888928.7771
1052 | 15904071.8676
1053 | 15919214.9582
1054 | 15934358.0487
1055 | 15949501.1393
1056 | 15964644.2298
1057 | 15979787.3204
1058 | 15994930.4109
1059 | 16010073.5015
1060 | 16025216.5921
1061 | 16040359.6826
1062 | 16055502.7732
1063 | 16070645.8637
1064 | 16085788.9543
1065 | 16100932.0448
1066 | 16116075.1354
1067 | 16131218.226
1068 | 16146361.3165
1069 | 16161504.4071
1070 | 16176647.4976
1071 | 16191790.5882
1072 | 16206933.6787
1073 | 16222076.7693
1074 | 16237219.8599
1075 | 16252362.9504
1076 | 16267506.041
1077 | 16282649.1315
1078 | 16297792.2221
1079 | 16312935.3126
1080 | 16328078.4032
1081 | 16343221.4938
1082 | 16358364.5843
1083 | 16373507.6749
1084 | 16388650.7654
1085 | 16403793.856
1086 | 16418936.9465
1087 | 16434080.2841
1088 | 16449224.1768
1089 | 16464368.0694
1090 | 16479511.962
1091 | 16494655.8547
1092 | 16509799.7473
1093 | 16524943.6399
1094 | 16540087.5325
1095 | 16555231.4252
1096 | 16570375.3178
1097 | 16585519.2104
1098 | 16600663.1031
1099 | 16615806.9957
1100 | 16630950.8883
1101 | 16646094.781
1102 | 16661238.6736
1103 | 16676382.5662
1104 | 16691526.4589
1105 | 16706670.3515
1106 | 16721814.2441
1107 | 16736958.1368
1108 | 16752102.0294
1109 | 16767245.922
1110 | 16782389.8147
1111 | 16797533.7073
1112 | 16812677.5999
1113 | 16827821.4925
1114 | 16842965.3852
1115 | 16858109.2778
1116 | 16873253.1704
1117 | 16888397.0631
1118 | 16903540.9557
1119 | 16918684.8483
1120 | 16933828.741
1121 | 16948972.6336
1122 | 16964116.5262
1123 | 16979260.4189
1124 | 16994404.3115
1125 | 17009548.2041
1126 | 17024692.0968
1127 | 17039835.9894
1128 | 17054979.882
1129 | 17070123.7747
1130 | 17085267.6673
1131 | 17100411.5599
1132 | 17115555.4525
1133 | 17130699.3452
1134 | 17145843.2378
1135 | 17160987.1304
1136 | 17176131.0231
1137 | 17191274.9157
1138 | 17206418.8083
1139 | 17221562.701
1140 | 17236706.5936
1141 | 17251850.4862
1142 | 17266994.3789
1143 | 17282138.2715
1144 | 17297282.1641
1145 | 17312426.0568
1146 | 17327569.9494
1147 | 17342713.842
1148 | 17357857.7347
1149 | 17373001.6273
1150 | 17388145.5199
1151 | 17403289.4125
1152 | 17418433.3052
1153 | 17433577.1978
1154 | 17448721.0904
1155 | 17463864.9831
1156 | 17479008.8757
1157 | 17494152.7683
1158 | 17509296.661
1159 | 17524440.5536
1160 | 17539584.4462
1161 | 17554728.3389
1162 | 17569872.2315
1163 | 17585016.1241
1164 | 17600160.0168
1165 | 17615303.9094
1166 | 17630447.802
1167 | 17645591.6947
1168 | 17660735.5873
1169 | 17675879.4799
1170 | 17691023.3725
1171 | 17706167.2652
1172 | 17721311.1578
1173 | 17736455.0504
1174 | 17751598.9431
1175 | 17766742.8357
1176 | 17781886.7283
1177 | 17797030.621
1178 | 17812174.5136
1179 | 17827318.4062
1180 | 17842462.2989
1181 | 17857606.1915
1182 | 17872750.0841
1183 | 17887893.9768
1184 | 17903037.8694
1185 | 17918181.762
1186 | 17933325.6547
1187 | 17948469.5473
1188 | 17963613.4399
1189 | 17978757.3325
1190 | 17993901.2252
1191 | 18009045.1178
1192 | 18024189.0104
1193 | 18039332.9031
1194 | 18054476.7957
1195 | 18069620.6883
1196 | 18084764.581
1197 | 18099908.4736
1198 | 18115052.3662
1199 | 18130196.2589
1200 | 18145340.1515
1201 | 18160484.0441
1202 | 18175627.9368
1203 | 18190771.8294
1204 | 18205915.722
1205 | 18221059.6147
1206 | 18236203.5073
1207 | 18251347.3999
1208 | 18266491.2925
1209 | 18281635.1852
1210 | 18296779.0778
1211 | 18311922.9704
1212 | 18327066.8631
1213 | 18342210.7557
1214 | 18357354.6483
1215 | 18372498.541
1216 | 18387642.4336
1217 | 18402786.3262
1218 | 18417930.2189
1219 | 18433074.1115
1220 | 18448218.0041
1221 | 18463361.8968
1222 | 18478505.7894
1223 | 18493649.682
1224 | 18508793.5747
1225 | 18523937.4673
1226 | 18539081.3599
1227 | 18554225.2525
1228 | 18569369.1452
1229 | 18584513.0378
1230 | 18599656.9304
1231 | 18614800.8231
1232 | 18629944.7157
1233 | 18645088.6083
1234 | 18660232.501
1235 | 18675376.3936
1236 | 18690520.2862
1237 | 18705664.1789
1238 | 18720808.0715
1239 | 18735951.9641
1240 | 18751095.8568
1241 | 18766239.7494
1242 | 18781383.642
1243 | 18796527.5347
1244 | 18811671.4273
1245 | 18826815.3199
1246 | 18841959.2125
1247 | 18857103.1052
1248 | 18872246.9978
1249 | 18887390.8904
1250 | 18902534.7831
1251 | 18917678.6757
1252 | 18932822.5683
1253 | 18947966.461
1254 | 18963110.3536
1255 | 18978254.2462
1256 | 18993396.4049
1257 | 19008534.6678
1258 | 19023672.9307
1259 | 19038811.1936
1260 | 19053949.4565
1261 | 19069087.7193
1262 | 19084225.9822
1263 | 19099364.2451
1264 | 19114502.508
1265 | 19129640.7709
1266 | 19144779.0338
1267 | 19159917.2967
1268 | 19175055.5596
1269 | 19190193.8224
1270 | 19205332.0853
1271 | 19220470.3482
1272 | 19235608.6111
1273 | 19250746.874
1274 | 19265885.1369
1275 | 19281023.3998
1276 | 19296161.6627
1277 | 19311299.9255
1278 | 19326438.1884
1279 | 19341576.4513
1280 | 19356714.7142
1281 | 19371852.9771
1282 | 19386991.24
1283 | 19402129.5029
1284 | 19417267.7658
1285 | 19432406.0287
1286 | 19447544.2915
1287 | 19462682.5544
1288 | 19477820.8173
1289 | 19492959.0802
1290 | 19508097.3431
1291 | 19523235.606
1292 | 19538373.8689
1293 | 19553512.1318
1294 | 19568650.3946
1295 | 19583788.6575
1296 | 19598926.9204
1297 | 19614065.1833
1298 | 19629203.4462
1299 | 19644341.7091
1300 | 19659479.972
1301 | 19674618.2349
1302 | 19689756.4977
1303 | 19704894.7606
1304 | 19720033.0235
1305 | 19735171.2864
1306 | 19750309.5493
1307 | 19765447.8122
1308 | 19780586.0751
1309 | 19795724.338
1310 | 19810862.6009
1311 | 19826000.8637
1312 | 19841139.1266
1313 | 19856277.3895
1314 | 19871415.6524
1315 | 19886553.9153
1316 | 19901692.1782
1317 | 19916830.4411
1318 | 19931968.704
1319 | 19947106.9668
1320 | 19962245.2297
1321 | 19977383.4926
1322 | 19992521.7555
1323 | 20007660.0184
1324 | 20022798.2813
1325 | 20037936.5442
1326 | 20053074.8071
1327 | 20068213.0699
1328 | 20083351.3328
1329 | 20098489.5957
1330 | 20113627.8586
1331 | 20128766.1215
1332 | 20143904.3844
1333 | 20159042.6473
1334 | 20174180.9102
1335 | 20189319.1731
1336 | 20204457.4359
1337 | 20219595.6988
1338 | 20234733.9617
1339 | 20249872.2246
1340 | 20265010.4875
1341 | 20280148.7504
1342 | 20295287.0133
1343 | 20310425.2762
1344 | 20325563.539
1345 | 20340701.8019
1346 | 20355840.0648
1347 | 20370978.3277
1348 | 20386116.5906
1349 | 20401254.8535
1350 | 20416393.1164
1351 | 20431531.3793
1352 | 20446669.6421
1353 | 20461807.905
1354 | 20476946.1679
1355 | 20492084.4308
1356 | 20507222.6937
1357 | 20522360.9566
1358 | 20537499.2195
1359 | 20552637.4824
1360 | 20567775.7452
1361 | 20582914.0081
1362 | 20598052.271
1363 | 20613190.5339
1364 | 20628328.7968
1365 | 20643467.0597
1366 | 20658605.3226
1367 | 20673743.5855
1368 | 20688881.8484
1369 | 20704020.1112
1370 | 20719158.3741
1371 | 20734296.637
1372 | 20749434.8999
1373 | 20764573.1628
1374 | 20779711.4257
1375 | 20794849.6886
1376 | 20809987.9515
1377 | 20825126.2143
1378 | 20840264.4772
1379 | 20855402.7401
1380 | 20870541.003
1381 | 20885679.2659
1382 | 20900817.5288
1383 | 20915955.7917
1384 | 20931094.0546
1385 | 20946232.3174
1386 | 20961370.5803
1387 | 20976508.8432
1388 | 20991647.1061
1389 | 21006785.369
1390 | 21021923.6319
1391 | 21037061.8948
1392 | 21052200.1577
1393 | 21067338.4206
1394 | 21082476.6834
1395 | 21097614.9463
1396 | 21112753.2092
1397 | 21127891.4721
1398 | 21143029.735
1399 | 21158167.9979
1400 | 21173306.2608
1401 | 21188444.5237
1402 | 21203582.7865
1403 | 21218721.0494
1404 | 21233859.3123
1405 | 21248997.5752
1406 | 21264135.8381
1407 | 21279274.101
1408 | 21294412.3639
1409 | 21309550.6268
1410 | 21324688.8896
1411 | 21339827.1525
1412 | 21354965.4154
1413 | 21370103.6783
1414 | 21385241.9412
1415 | 21400380.2041
1416 | 21415518.467
1417 | 21430656.7299
1418 | 21445794.9928
1419 | 21460933.2556
1420 | 21476071.5185
1421 | 21491209.7814
1422 | 21506348.0443
1423 | 21521486.3072
1424 | 21536624.5701
1425 | 21551762.833
1426 | 21566901.0959
1427 | 21582039.3587
1428 | 21597177.6216
1429 | 21612315.8845
1430 | 21627454.1474
1431 | 21642592.4103
1432 | 21657730.6732
1433 | 21672868.9361
1434 | 21688007.199
1435 | 21703145.4618
1436 | 21718283.7247
1437 | 21733421.9876
1438 | 21748560.2505
1439 | 21763698.5134
1440 | 21778836.7763
1441 | 21793975.0392
1442 | 21809113.3021
1443 | 21824251.5649
1444 | 21839389.8278
1445 | 21854528.0907
1446 | 21869666.3536
1447 | 21884804.6165
1448 | 21899942.8794
1449 | 21915081.1423
1450 | 21930219.4052
1451 | 21945357.6681
1452 | 21960495.9309
1453 | 21975634.1938
1454 | 21990772.4567
1455 | 22005910.7196
1456 | 22021048.9825
1457 | 22036187.2454
1457.09 | 22037579.9656

## Sheet2
1 | 1513.5193
2 | 3027.0386
3 | 4540.5579
4 | 6054.0772
5 | 7567.5965
6 | 9081.1158
7 | 10594.6351
8 | 12108.1545
9 | 13621.6738

## Sheet3
N.I.O.P.D.C
MEASUREMENT RECORD
|  | DATE : |  |  | 98.12.05
|  | TYPE OF ROOF: |  |  | IFR |  |  | TANK NO.: |  |  |  | 198
|  | FLOATING ROOF WEIGHT(KG): |  |  | 6960 |  |  | LOCATION: |  |  |  | BANDAR ABBAS
|  | BOTTOM SLIDE: |  |  | 0.008 |  |  | PRODUCT: |  |  |  | GASOLINE
|  | SHELL HEIGHT(M): |  |  | 14.624 |  |  | SP.GR. AT60F: |  |  |  | 0.74
|  | DIPHATCH HEIGHT(M): |  |  | 15.646 |  |  | NOM.CAP(M3): |  |  |  | 22000
|  | D.P(CM): |  |  | 4.5 |  |  |  |  | AMB.TEMP(OF): |  | 79
|  | L.P(CM): |  |  | 148 |  |  |  |  | LIQUID TEMP(OF): |  | 77
|  | R.D.H(CM): |  |  | 10.6337 |  |  |  |  | LIQUID LEVEL(M): |  | 12.563
[9 empty] | DISTANCE TO TANK SHELL(CM): |  |  | 101
[9 empty] | DISTANCE ROOF TO SHELL(CM) |  |  | 20
SHELL CIRCUMFERENCE (M)
[7 empty] | AT(0/0) |  |  | AT(0/0)
|  | A: | 138.0959 | 11 | E: | 137.9733 | 50 | I: | ? | ?
|  | B: | 138.0612 | 50 | F: | 137.976 | 50 | J: | ? | ?
|  | C: | 138.0412 | 50 | G: | 137.923 | 50 | K: | ? | ?
|  | D: | 138.0148 | 50 | H: | 137.856 | 50 | L: | ? | ?
DESCRIPTION OF SHELL PLATE AND JOINTS:
|  | RING NO. |  | THICKNESS(MM) |  |  | INSIDE RING HEIGHT(M) |  |  | TYPE OF JOINTS
|  | 1 |  | 24.4 |  |  | 1.825
|  | 2 |  | 21.4 |  |  | 1.82
|  | 3 |  | 18.7 |  |  | 1.82
|  | 4 |  | 15.7 |  |  | 1.817
|  | 5 |  | 12.5 |  |  | 1.82
|  | 6 |  | 9.7 |  |  | 1.818
|  | 7 |  | 7 |  |  | 1.69
|  | 8 |  | 7 |  |  | 2.014
DEAD WOOD
|  | DESCRIPTION: |  | NO.: | SIZE: (L(CM)*R(CM)) |  |  | FROM:(CM) | TO:(CM) | REMARKS:
|  | NOZEL |  | 3 | 58 | 35.56 |  | 27 | 62.56
|  | MANHOLE |  | 2 | 19 | 61 |  | 45 | 106
|  | DRAIN |  | 1 | 32 | 15.24 |  | 19 | 34.24
|  | SUMP |  | 1 | 92 | 150 |  | 0 | 0
MEASURMENTS BY :N.I.O.P.D.C APPROVED BY:SUPERVISION ON PETROLUM EXPORT&DOMESTIC TRANSACTION
N.I.O.P.D.C
GENERAL INFORMATION
|  |  | TANK NO.: |  |  | 198
|  |  | LOCATION: |  |  | BANDAR ABBAS
|  |  | TYPE OF ROOF: |  |  | IFR
|  |  | PRODUCT: |  |  | GASOLINE
|  |  | DENSITY: |  |  | 0.73927 | KG/LIT
|  |  | SP.GR: |  |  | 0.74 | 60/60 oF
|  |  | SP.GR RANGE: |  |  | .7350-.7450 | 60/60 oF
|  |  | TANK HEIGHT: |  |  | 14.624 | M
|  |  | NOMINAL CAPACITY: |  |  | 22000 | M3
|  |  | NOMINAL DIAMETER: |  |  | 43.8912 | M
|  |  | MAX LEVEL: |  |  | 13.6003 | M
|  |  | MIN LEVEL: |  |  | 158.3257 | CM
|  |  | ROOF WEIGHT: |  |  | 6960 | KG
|  |  | LEG SITTING: |  |  | 137.692 | CM
|  |  | ACTUAL DATUM PLATE: |  |  | 5.308 | CM
|  |  | HEIGHT OF CHAMBER: |  |  | 17.5565 | CM
|  |  | GAUGE HEIGHT: |  |  | 15.646 | M
|  |  | BOTTOM TYPE: |  |  | CROWNED
|  |  | FRACTION NOT APPLICABLE BELOW |  |  |  | 12.2485 | CM AND CRITICAL ZONE
|  |  | 137.692 | 148.3257 | A TOTAL OF |  | 9414.6694 | LITERS HAS BEEN DEDUCTED
|  |  | FROM TABLE BETWEEN |  |  | 137.692 | 148.3257 | CM FOR ROOF DISPLACMENT
|  |  | BASSED ON |  | 6960 | KG OF ROOF WEIGHT&SP.GR OF |  |  |  | 0.74
|  |  | 60/60 OF. | GAUGED LEVEL ABOVE |  |  | 148.3257 | CM REFELECTED THIS
|  |  | DEDUCTION. FOR SP.GR OTHER THAN |  |  |  | 0.74 | BETWEEN | .7350-.7450
|  |  | ADJUST QUANTITY ABOVE |  |  | 148.3257 | CM AS FOLLOWS:
|  |  | ADD | 12.7179 | PER .001 ABOVE |  | 0.74 | SP.GR AND SUBTRACT
|  |  | 12.7523 | BELOW | 0.74 | SP.GR.
CTS CORRECTION FACTOR SHALL USED TO CORRECT READING VOLUME.
|  |  | CALIBRATED BY: |  | N.I.O.P.D.C
|  |  | APPROVED BY: |  | SUPERVISION ON PETROLUM EXPORT&DOMESTIC TRANSACTION
|  |  | CALIBRATION DATE: |  | 98.12.05
| DP (CM) | LP (CM) | RDH (CM) | RW (KG) | DTs (CM) | SLIDE | sp.gr |  | S.DIAMETER | ACTUAL DP(CM) | DENSITY | T(SHELL)
| 4.5 | 148 | 10.6337 | 6960 | 101 | 0.008 | Liquid | To Be Stored | 43.8912 | 5.308 | 0.73927 | 77.25
| N=NO. OF SEAMS |  | SEAMS DEPT(m) | SEAMS WIETHS(M) | ANN RING(M) | LIQUID LEVEL (M) | 0.7263 | 0.74 | HT OF CAMBER (CM) | CORR.IN.DIA | METER.CF | CTS
| 0 |  | 0 | 0 | 0 | 12.563 |  |  | 17.5565 | 43.8912 | 1.0001 | 0.99995
| TANK RUNSHEET |  | TK.198(GASOLINE) |  | DEDUCTION | [6 empty] | iv=L/CM |  |  | Corr.incream
| RING | OUTSIDE Circum (M) | thickness(MM) | Ring Hieght (M) | tape rise | liquid hieght | t /500 | Plate rang % | in circum(m) | full stress | corr.inside circum(m) | c^2*0.79577472 | V | V | m volume | ROUNDED
| 1 | 138.0891 | 24.4 | 1.825 | 0 | 0.048466 | 0.15331 | 11 | 137.8873 | 0.00090359 | 137.8882 | 15130.1842 | 1.8027 | 0 | 15130.1842 | 15130.1842
| 2 | 138.0544 | 21.4 | 1.82 | 0 | 0.049624 | 0.13446 | 50 | 137.8703 | 0.004669 | 137.875 | 15127.289 | 2.0492 | 1.8027 | 15129.0917 | 15129.0917
| 3 | 138.0344 | 18.7 | 1.82 | 0 | 0.046259 | 0.1175 | 50 | 137.8706 | 0.0053432 | 137.8759 | 15127.4999 | 2.3451 | 3.8519 | 15131.3518 | 15131.3518
| 4 | 138.008 | 15.7 | 1.817 | 0 | 0.04257 | 0.098646 | 50 | 137.8668 | 0.0063533 | 137.8731 | 15126.8834 | 2.7884 | 6.197 | 15133.0804 | 15133.0804
| 5 | 137.9665 | 12.5 | 1.82 | 0 | 0.037736 | 0.07854 | 50 | 137.8502 | 0.007991 | 137.8582 | 15123.605 | 3.5069 | 8.9854 | 15132.5904 | 15132.5904
| 6 | 137.9691 | 9.7 | 1.818 | 0 | 0.028393 | 0.060947 | 50 | 137.8798 | 0.010291 | 137.8901 | 15130.5982 | 4.5174 | 12.4924 | 15143.0906 | 15143.0906
| 7 | 137.9162 | 7 | 1.69 | 0 | 0.012293 | 0.043982 | 50 | 137.8599 | 0.013252 | 137.8731 | 15126.8828 | 5.817 | 17.0098 | 15143.8926 | 15143.8926
| 8 | 137.8492 | 7 | 2.014 | 0 | 0 | 0.043982 | 50 | 137.8052 | 0.01578 | 137.821 | 15115.4361 | 6.9243 | 22.8268 | 15138.2629 | 15138.2629
| TANK BOTTOM CALCULATION |  |  | TK.198(GASOLINE)
| RING NO.1 IV | D | VOLUME | DIFFERENCE | ROUNDED
| 15130.1842 | 5.308 | 21834.0876 |  |  |  | FRACTION
| 15130.1842 | 6.308 | 30184.8208 | 8350.7331 | 8350.7331 |  | MM | LITER
| 15130.1842 | 7.308 | 39639.8697 | 9455.0489 | 9455.0489 |  | 1 | 1513.5193
| 15130.1842 | 8.308 | 50101.0597 | 10461.19 | 10461.19 |  | 2 | 3027.0386
| 15130.1842 | 9.308 | 61470.2159 | 11369.1562 | 11369.1562 |  | 3 | 4540.5579
| 15130.1842 | 10.308 | 73649.1636 | 12178.9477 | 12178.9477 |  | 4 | 6054.0772
| 15130.1842 | 11.308 | 86539.728 | 12890.5644 | 12890.5644 |  | 5 | 7567.5965
| 15130.1842 | 12.308 | 100043.7343 | 13504.0063 | 13504.0063 |  | 6 | 9081.1158
| 15130.1842 | 13.308 | 114063.0079 | 14019.2735 | 14019.2735 |  | 7 | 10594.6351
| 15130.1842 | 14.308 | 128499.3738 | 14436.3659 | 14436.3659 |  | 8 | 12108.1545
| 15130.1842 | 15.308 | 143254.6573 | 14755.2836 | 14755.2836 |  | 9 | 13621.6738
| 15130.1842 | 16.308 | 158230.6837 | 14976.0264 | 14976.0264
| 15130.1842 | 17.308 | 173329.2782 | 15098.5945 | 15098.5945
| 15130.1842 | 17.5565 | 177088.3985 | 3759.1203 | 3759.1203
TANK DEADWOOD CALCULATION |  |  |  | TK.198(GASOLINE)
QUANTITY | DESCRIPTION | (L) DIMENTION (R) |  | VOLUME(LIT) | FROM | TO | FROM | TO | IV LITER
3 | NOZZLE | 58 | 35.56 | 172.8075 | 27 | 62.56 | 21.692 | 57.252 | 4.8596
2 | MANHOLE | 19 | 61 | 111.0537 | 45 | 106 | 39.692 | 100.692 | 1.8206
1 | DRAIN | 32 | 15.24 | 5.8373 | 19 | 34.24 | 13.692 | 28.932 | 0.38302
1 | SUMP | 92 | 150 | 1625.7742 | 0 | 0
TANK ROOF CALCULATION |  |  | TK.198(GASOLINE)
ROOF DISPLACEMENT=WEIGHT OF ROOF/DENSITY= |  |  |  | 9414.6694 | LITER
ROOF IV= |  |  |  | 14855.6645 | LIT/CM
GHOOTEVARI= |  |  |  | 10.6337 | CM
LOW POSITION= |  |  |  | 137.692 | CM
HIGH POSITION= |  |  |  | 148.3257 | CM
ROOFDWD= |  |  |  | 885.358 | LITER
TANK CALCULATION |  |  | TK.198(GASOLINE)
RING NO.1 | RING IV | FROM | TO | NO. | FACTOR | DWD | ACTUAL FACTOR | TOTAL
1 | 15130.1842 | 0 | 0 | 0 | 21834.0876 | 1625.7742 | 23459.8618 | 23459.8618
1 | 15130.1842 | 0 | 1 | 1 | 8350.7331 |  | 8350.7331 | 31810.595
1 | 15130.1842 | 1 | 2 | 1 | 9455.0489 |  | 9455.0489 | 41265.6439
1 | 15130.1842 | 2 | 3 | 1 | 10461.19 |  | 10461.19 | 51726.8339
1 | 15130.1842 | 3 | 4 | 1 | 11369.1562 |  | 11369.1562 | 63095.9901
1 | 15130.1842 | 4 | 5 | 1 | 12178.9477 |  | 12178.9477 | 75274.9378
1 | 15130.1842 | 5 | 6 | 1 | 12890.5644 |  | 12890.5644 | 88165.5022
1 | 15130.1842 | 6 | 7 | 1 | 13504.0063 |  | 13504.0063 | 101669.5085
1 | 15130.1842 | 7 | 8 | 1 | 14019.2735 |  | 14019.2735 | 115688.7821
1 | 15130.1842 | 8 | 9 | 1 | 14436.3659 |  | 14436.3659 | 130125.148
1 | 15130.1842 | 9 | 10 | 1 | 14755.2836 |  | 14755.2836 | 144880.4315
1 | 15130.1842 | 10 | 11 | 1 | 14976.0264 |  | 14976.0264 | 159856.4579
1 | 15130.1842 | 11 | 12 | 1 | 15098.5945 |  | 15098.5945 | 174955.0524
1 | 15130.1842 | 12 | 12.25 | 0.25 | 3759.1203 |  | 3759.1203 | 178714.1727
1 | 15130.1842 | 12.25 | 13 | 0.75 | 15130.1842 |  | 11347.6381 | 190061.8109
1 | 15130.1842 | 13 | 14 | 1 | 15130.1842 |  | 15130.1842 | 205191.9951
1 | 15130.1842 | 14 | 22 | 8 | 15130.1842 | 3.0642 | 121044.5377 | 326236.5328
1 | 15130.1842 | 22 | 29 | 7 | 15130.1842 | 36.6984 | 105947.9878 | 432184.5206
1 | 15130.1842 | 29 | 40 | 11 | 15130.1842 | 53.4556 | 166485.4818 | 598670.0024
1 | 15130.1842 | 40 | 57 | 17 | 15130.1842 | 113.5627 | 257326.694 | 855996.6964
1 | 15130.1842 | 57 | 101 | 44 | 15130.1842 | 80.1043 | 665808.2089 | 1521804.9053
1 | 15130.1842 | 101 | 137.692 | 36.692 | 15130.1842 |  | 555156.7185 | 2076961.6238
1 | 15130.1842 | 137.692 | 148.3257 | 10.6337 | 15130.1842 | -9414.6694 | 151475.8168 | 2228437.4406
1 | 15130.1842 | 148.3257 | 177.192 | 28.8663 | 15130.1842 |  | 436751.7894 | 2665189.2301
2 | 15129.0917 | 177.192 | 359.192 | 182 | 15129.0917 |  | 2753494.6839 | 5418683.9139
3 | 15131.3518 | 359.192 | 541.192 | 182 | 15131.3518 |  | 2753906.023 | 8172589.937
4 | 15133.0804 | 541.192 | 722.892 | 181.7 | 15133.0804 |  | 2749680.7104 | 10922270.6474
5 | 15132.5904 | 722.892 | 904.892 | 182 | 15132.5904 |  | 2754131.4547 | 13676402.102
6 | 15143.0906 | 904.892 | 1086.692 | 181.8 | 15143.0906 |  | 2753013.8632 | 16429415.9652
7 | 15143.8926 | 1086.692 | 1255.692 | 169 | 15143.8926 |  | 2559317.8547 | 18988733.8199
8 | 15138.2629 | 1255.692 | 1457.092 | 201.4 | 15138.2629 |  | 3048846.1456 | 22037579.9656
N.I.O.P.D.C
|  |  |  | TANK CAPACITY TABLE |  |  |  |  | PAGE:1
TANK | TK.198(GASOLINE)
CM | LITRES | CM | LITRES | CM | LITRES | CM | LITRES | CM | LITRES
0 | 23459.8618 | 51 | 765175.5103 | 101 | 1521804.9053 | 151 | 2268899.4456 | 201 | 3025382.6445
1 | 31810.595 | 52 | 780312.3746 | 102 | 1536935.0895 | 152 | 2284029.6298 | 202 | 3040511.7362
2 | 41265.6439 | 53 | 795449.239 | 103 | 1552065.2737 | 153 | 2299159.814 | 203 | 3055640.8279
3 | 51726.8339 | 54 | 810586.1033 | 104 | 1567195.4579 | 154 | 2314289.9982 | 204 | 3070769.9195
4 | 63095.9901 | 55 | 825722.9677 | 105 | 1582325.6421 | 155 | 2329420.1824 | 205 | 3085899.0112
5 | 75274.9378 | 56 | 840859.832 | 106 | 1597455.8263 | 156 | 2344550.3666 | 206 | 3101028.1029
6 | 88165.5022 | 57 | 855996.6964 | 107 | 1612586.0105 | 157 | 2359680.5508 | 207 | 3116157.1946
7 | 101669.5085 | 58 | 871128.7011 | 108 | 1627716.1947 | 158 | 2374810.735 | 208 | 3131286.2862
8 | 115688.7821 | 59 | 886260.7059 | 109 | 1642846.3789 | 159 | 2389940.9192 | 209 | 3146415.3779
9 | 130125.148 | 60 | 901392.7106 | 110 | 1657976.5631 | 160 | 2405071.1034 | 210 | 3161544.4696
10 | 144880.4315 | 61 | 916524.7154 | 111 | 1673106.7472 | 161 | 2420201.2876 | 211 | 3176673.5612
11 | 159856.4579 | 62 | 931656.7201 | 112 | 1688236.9314 | 162 | 2435331.4718 | 212 | 3191802.6529
12 | 174955.0524 | 63 | 946788.7249 | 113 | 1703367.1156 | 163 | 2450461.656 | 213 | 3206931.7446
13 | 190061.8109 | 64 | 961920.7296 | 114 | 1718497.2998 | 164 | 2465591.8402 | 214 | 3222060.8362
14 | 205191.9951 | 65 | 977052.7344 | 115 | 1733627.484 | 165 | 2480722.0244 | 215 | 3237189.9279
15 | 220322.5623 | 66 | 992184.7391 | 116 | 1748757.6682 | 166 | 2495852.2086 | 216 | 3252319.0196
16 | 235453.1295 | 67 | 1007316.7439 | 117 | 1763887.8524 | 167 | 2510982.3927 | 217 | 3267448.1113
17 | 250583.6967 | 68 | 1022448.7486 | 118 | 1779018.0366 | 168 | 2526112.5769 | 218 | 3282577.2029
18 | 265714.264 | 69 | 1037580.7533 | 119 | 1794148.2208 | 169 | 2541242.7611 | 219 | 3297706.2946
19 | 280844.8312 | 70 | 1052712.7581 | 120 | 1809278.405 | 170 | 2556372.9453 | 220 | 3312835.3863
20 | 295975.3984 | 71 | 1067844.7628 | 121 | 1824408.5892 | 171 | 2571503.1295 | 221 | 3327964.4779
21 | 311105.9656 | 72 | 1082976.7676 | 122 | 1839538.7734 | 172 | 2586633.3137 | 222 | 3343093.5696
22 | 326236.5328 | 73 | 1098108.7723 | 123 | 1854668.9576 | 173 | 2601763.4979 | 223 | 3358222.6613
23 | 341371.9597 | 74 | 1113240.7771 | 124 | 1869799.1418 | 174 | 2616893.6821 | 224 | 3373351.7529
24 | 356507.3865 | 75 | 1128372.7818 | 125 | 1884929.326 | 175 | 2632023.8663 | 225 | 3388480.8446
25 | 371642.8133 | 76 | 1143504.7866 | 126 | 1900059.5102 | 176 | 2647154.0505 | 226 | 3403609.9363
26 | 386778.2401 | 77 | 1158636.7913 | 127 | 1915189.6944 | 177 | 2662284.2347 | 227 | 3418739.0279
27 | 401913.6669 | 78 | 1173768.7961 | 128 | 1930319.8786 | 178 | 2677413.5361 | 228 | 3433868.1196
28 | 417049.0938 | 79 | 1188900.8008 | 129 | 1945450.0628 | 179 | 2692542.6278 | 229 | 3448997.2113
29 | 432184.5206 | 80 | 1204032.8056 | 130 | 1960580.247 | 180 | 2707671.7195 | 230 | 3464126.303
30 | 447319.5644 | 81 | 1219164.8103 | 131 | 1975710.4312 | 181 | 2722800.8111 | 231 | 3479255.3946
31 | 462454.6082 | 82 | 1234296.8151 | 132 | 1990840.6153 | 182 | 2737929.9028 | 232 | 3494384.4863
32 | 477589.652 | 83 | 1249428.8198 | 133 | 2005970.7995 | 183 | 2753058.9945 | 233 | 3509513.578
33 | 492724.6958 | 84 | 1264560.8246 | 134 | 2021100.9837 | 184 | 2768188.0862 | 234 | 3524642.6696
34 | 507859.7396 | 85 | 1279692.8293 | 135 | 2036231.1679 | 185 | 2783317.1778 | 235 | 3539771.7613
35 | 522994.7834 | 86 | 1294824.8341 | 136 | 2051361.3521 | 186 | 2798446.2695 | 236 | 3554900.853
36 | 538129.8272 | 87 | 1309956.8388 | 137 | 2066491.5363 | 187 | 2813575.3612 | 237 | 3570029.9446
37 | 553264.871 | 88 | 1325088.8436 | 138 | 2081349.0303 | 188 | 2828704.4528 | 238 | 3585159.0363
38 | 568399.9148 | 89 | 1340220.8483 | 139 | 2095593.8564 | 189 | 2843833.5445 | 239 | 3600288.128
39 | 583534.9586 | 90 | 1355352.8531 | 140 | 2109838.6826 | 190 | 2858962.6362 | 240 | 3615417.2197
40 | 598670.0024 | 91 | 1370484.8578 | 141 | 2124083.5088 | 191 | 2874091.7278 | 241 | 3630546.3113
41 | 613806.8667 | 92 | 1385616.8626 | 142 | 2138328.3349 | 192 | 2889220.8195 | 242 | 3645675.403
42 | 628943.7311 | 93 | 1400748.8673 | 143 | 2152573.1611 | 193 | 2904349.9112 | 243 | 3660804.4947
43 | 644080.5954 | 94 | 1415880.8721 | 144 | 2166817.9873 | 194 | 2919479.0028 | 244 | 3675933.5863
44 | 659217.4598 | 95 | 1431012.8768 | 145 | 2181062.8135 | 195 | 2934608.0945 | 245 | 3691062.678
45 | 674354.3241 | 96 | 1446144.8816 | 146 | 2195307.6396 | 196 | 2949737.1862 | 246 | 3706191.7697
46 | 689491.1885 | 97 | 1461276.8863 | 147 | 2209552.4658 | 197 | 2964866.2779 | 247 | 3721320.8613
47 | 704628.0528 | 98 | 1476408.891 | 148 | 2223797.292 | 198 | 2979995.3695 | 248 | 3736449.953
48 | 719764.9172 | 99 | 1491540.8958 | 149 | 2238639.0772 | 199 | 2995124.4612 | 249 | 3751579.0447
49 | 734901.7815 | 100 | 1506672.9005 | 150 | 2253769.2614 | 200 | 3010253.5529 | 250 | 3766708.1363
50 | 750038.6459
MM | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
LITER | 1513.5193 | 3027.0386 | 4540.5579 | 6054.0772 | 7567.5965 | 9081.1158 | 10594.6351 | 12108.1545 | 13621.6738
CHECKED BY: ALAGHBAND APPROVED BY: SUPERVISION ON PETROLUM EXPORT&DOMESTIC TRANSACTION
N.I.O.P.D.C
PAGE:2
TANK | TK.198(GASOLINE) |  |  | TANK CAPACITY TABLE
CM | LITRES | CM | LITRES | CM | LITRES | CM | LITRES | CM | LITRES
251 | 3781837.228 | 301 | 4538291.8115 | 351 | 5294746.395 | 401 | 6051295.4689 | 451 | 6807863.0577
252 | 3796966.3197 | 302 | 4553420.9032 | 352 | 5309875.4866 | 402 | 6066426.8207 | 452 | 6822994.4095
253 | 3812095.4114 | 303 | 4568549.9948 | 353 | 5325004.5783 | 403 | 6081558.1725 | 453 | 6838125.7612
254 | 3827224.503 | 304 | 4583679.0865 | 354 | 5340133.67 | 404 | 6096689.5243 | 454 | 6853257.113
255 | 3842353.5947 | 305 | 4598808.1782 | 355 | 5355262.7617 | 405 | 6111820.876 | 455 | 6868388.4648
256 | 3857482.6864 | 306 | 4613937.2698 | 356 | 5370391.8533 | 406 | 6126952.2278 | 456 | 6883519.8166
257 | 3872611.778 | 307 | 4629066.3615 | 357 | 5385520.945 | 407 | 6142083.5796 | 457 | 6898651.1683
258 | 3887740.8697 | 308 | 4644195.4532 | 358 | 5400650.0367 | 408 | 6157214.9314 | 458 | 6913782.5201
259 | 3902869.9614 | 309 | 4659324.5449 | 359 | 5415779.1283 | 409 | 6172346.2831 | 459 | 6928913.8719
260 | 3917999.053 | 310 | 4674453.6365 | 360 | 5430910.0462 | 410 | 6187477.6349 | 460 | 6944045.2237
261 | 3933128.1447 | 311 | 4689582.7282 | 361 | 5446041.3979 | 411 | 6202608.9867 | 461 | 6959176.5754
262 | 3948257.2364 | 312 | 4704711.8199 | 362 | 5461172.7497 | 412 | 6217740.3385 | 462 | 6974307.9272
263 | 3963386.3281 | 313 | 4719840.9115 | 363 | 5476304.1015 | 413 | 6232871.6902 | 463 | 6989439.279
264 | 3978515.4197 | 314 | 4734970.0032 | 364 | 5491435.4533 | 414 | 6248003.042 | 464 | 7004570.6308
265 | 3993644.5114 | 315 | 4750099.0949 | 365 | 5506566.805 | 415 | 6263134.3938 | 465 | 7019701.9825
266 | 4008773.6031 | 316 | 4765228.1865 | 366 | 5521698.1568 | 416 | 6278265.7456 | 466 | 7034833.3343
267 | 4023902.6947 | 317 | 4780357.2782 | 367 | 5536829.5086 | 417 | 6293397.0973 | 467 | 7049964.6861
268 | 4039031.7864 | 318 | 4795486.3699 | 368 | 5551960.8604 | 418 | 6308528.4491 | 468 | 7065096.0379
269 | 4054160.8781 | 319 | 4810615.4616 | 369 | 5567092.2121 | 419 | 6323659.8009 | 469 | 7080227.3896
270 | 4069289.9697 | 320 | 4825744.5532 | 370 | 5582223.5639 | 420 | 6338791.1527 | 470 | 7095358.7414
271 | 4084419.0614 | 321 | 4840873.6449 | 371 | 5597354.9157 | 421 | 6353922.5044 | 471 | 7110490.0932
272 | 4099548.1531 | 322 | 4856002.7366 | 372 | 5612486.2675 | 422 | 6369053.8562 | 472 | 7125621.445
273 | 4114677.2447 | 323 | 4871131.8282 | 373 | 5627617.6192 | 423 | 6384185.208 | 473 | 7140752.7967
274 | 4129806.3364 | 324 | 4886260.9199 | 374 | 5642748.971 | 424 | 6399316.5598 | 474 | 7155884.1485
275 | 4144935.4281 | 325 | 4901390.0116 | 375 | 5657880.3228 | 425 | 6414447.9115 | 475 | 7171015.5003
276 | 4160064.5198 | 326 | 4916519.1032 | 376 | 5673011.6746 | 426 | 6429579.2633 | 476 | 7186146.8521
277 | 4175193.6114 | 327 | 4931648.1949 | 377 | 5688143.0263 | 427 | 6444710.6151 | 477 | 7201278.2038
278 | 4190322.7031 | 328 | 4946777.2866 | 378 | 5703274.3781 | 428 | 6459841.9669 | 478 | 7216409.5556
279 | 4205451.7948 | 329 | 4961906.3782 | 379 | 5718405.7299 | 429 | 6474973.3186 | 479 | 7231540.9074
280 | 4220580.8864 | 330 | 4977035.4699 | 380 | 5733537.0817 | 430 | 6490104.6704 | 480 | 7246672.2592
281 | 4235709.9781 | 331 | 4992164.5616 | 381 | 5748668.4334 | 431 | 6505236.0222 | 481 | 7261803.6109
282 | 4250839.0698 | 332 | 5007293.6533 | 382 | 5763799.7852 | 432 | 6520367.374 | 482 | 7276934.9627
283 | 4265968.1614 | 333 | 5022422.7449 | 383 | 5778931.137 | 433 | 6535498.7257 | 483 | 7292066.3145
284 | 4281097.2531 | 334 | 5037551.8366 | 384 | 5794062.4888 | 434 | 6550630.0775 | 484 | 7307197.6663
285 | 4296226.3448 | 335 | 5052680.9283 | 385 | 5809193.8405 | 435 | 6565761.4293 | 485 | 7322329.018
286 | 4311355.4365 | 336 | 5067810.0199 | 386 | 5824325.1923 | 436 | 6580892.7811 | 486 | 7337460.3698
287 | 4326484.5281 | 337 | 5082939.1116 | 387 | 5839456.5441 | 437 | 6596024.1328 | 487 | 7352591.7216
288 | 4341613.6198 | 338 | 5098068.2033 | 388 | 5854587.8959 | 438 | 6611155.4846 | 488 | 7367723.0734
289 | 4356742.7115 | 339 | 5113197.2949 | 389 | 5869719.2476 | 439 | 6626286.8364 | 489 | 7382854.4251
290 | 4371871.8031 | 340 | 5128326.3866 | 390 | 5884850.5994 | 440 | 6641418.1882 | 490 | 7397985.7769
291 | 4387000.8948 | 341 | 5143455.4783 | 391 | 5899981.9512 | 441 | 6656549.5399 | 491 | 7413117.1287
292 | 4402129.9865 | 342 | 5158584.57 | 392 | 5915113.303 | 442 | 6671680.8917 | 492 | 7428248.4805
293 | 4417259.0781 | 343 | 5173713.6616 | 393 | 5930244.6547 | 443 | 6686812.2435 | 493 | 7443379.8322
294 | 4432388.1698 | 344 | 5188842.7533 | 394 | 5945376.0065 | 444 | 6701943.5953 | 494 | 7458511.184
295 | 4447517.2615 | 345 | 5203971.845 | 395 | 5960507.3583 | 445 | 6717074.947 | 495 | 7473642.5358
296 | 4462646.3532 | 346 | 5219100.9366 | 396 | 5975638.7101 | 446 | 6732206.2988 | 496 | 7488773.8876
297 | 4477775.4448 | 347 | 5234230.0283 | 397 | 5990770.0618 | 447 | 6747337.6506 | 497 | 7503905.2393
298 | 4492904.5365 | 348 | 5249359.12 | 398 | 6005901.4136 | 448 | 6762469.0024 | 498 | 7519036.5911
299 | 4508033.6282 | 349 | 5264488.2116 | 399 | 6021032.7654 | 449 | 6777600.3541 | 499 | 7534167.9429
300 | 4523162.7198 | 350 | 5279617.3033 | 400 | 6036164.1172 | 450 | 6792731.7059 | 500 | 7549299.2947
MM | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
LITER | 1513.5193 | 3027.0386 | 4540.5579 | 6054.0772 | 7567.5965 | 9081.1158 | 10594.6351 | 12108.1545 | 13621.6738
CHECKED BY: ALAGHBAND APPROVED BY: SUPERVISION ON PETROLUM EXPORT&DOMESTIC TRANSACTION
N.I.O.P.D.C
[9 empty] | PAGE:3 |  | .
TANK | TK.198(GASOLINE) |  |  | TANK CAPACITY TABLE
CM | LITRES | CM | LITRES | CM | LITRES | CM | LITRES | CM | LITRES
501 | 7564430.6464 | 551 | 8321015.1896 | 601 | 9077669.2101 | 651 | 9834323.2306 | 701 | 10590977.251
502 | 7579561.9982 | 552 | 8336148.27 | 602 | 9092802.2905 | 652 | 9849456.311 | 702 | 10606110.3314
503 | 7594693.35 | 553 | 8351281.3504 | 603 | 9107935.3709 | 653 | 9864589.3914 | 703 | 10621243.4118
504 | 7609824.7018 | 554 | 8366414.4308 | 604 | 9123068.4513 | 654 | 9879722.4718 | 704 | 10636376.4923
505 | 7624956.0535 | 555 | 8381547.5113 | 605 | 9138201.5317 | 655 | 9894855.5522 | 705 | 10651509.5727
506 | 7640087.4053 | 556 | 8396680.5917 | 606 | 9153334.6121 | 656 | 9909988.6326 | 706 | 10666642.6531
507 | 7655218.7571 | 557 | 8411813.6721 | 607 | 9168467.6925 | 657 | 9925121.713 | 707 | 10681775.7335
508 | 7670350.1089 | 558 | 8426946.7525 | 608 | 9183600.773 | 658 | 9940254.7934 | 708 | 10696908.8139
509 | 7685481.4606 | 559 | 8442079.8329 | 609 | 9198733.8534 | 659 | 9955387.8738 | 709 | 10712041.8943
510 | 7700612.8124 | 560 | 8457212.9133 | 610 | 9213866.9338 | 660 | 9970520.9542 | 710 | 10727174.9747
511 | 7715744.1642 | 561 | 8472345.9937 | 611 | 9229000.0142 | 661 | 9985654.0347 | 711 | 10742308.0551
512 | 7730875.516 | 562 | 8487479.0741 | 612 | 9244133.0946 | 662 | 10000787.1151 | 712 | 10757441.1355
513 | 7746006.8677 | 563 | 8502612.1545 | 613 | 9259266.175 | 663 | 10015920.1955 | 713 | 10772574.2159
514 | 7761138.2195 | 564 | 8517745.2349 | 614 | 9274399.2554 | 664 | 10031053.2759 | 714 | 10787707.2964
515 | 7776269.5713 | 565 | 8532878.3153 | 615 | 9289532.3358 | 665 | 10046186.3563 | 715 | 10802840.3768
516 | 7791400.9231 | 566 | 8548011.3958 | 616 | 9304665.4162 | 666 | 10061319.4367 | 716 | 10817973.4572
517 | 7806532.2748 | 567 | 8563144.4762 | 617 | 9319798.4966 | 667 | 10076452.5171 | 717 | 10833106.5376
518 | 7821663.6266 | 568 | 8578277.5566 | 618 | 9334931.577 | 668 | 10091585.5975 | 718 | 10848239.618
519 | 7836794.9784 | 569 | 8593410.637 | 619 | 9350064.6575 | 669 | 10106718.6779 | 719 | 10863372.6984
520 | 7851926.3301 | 570 | 8608543.7174 | 620 | 9365197.7379 | 670 | 10121851.7583 | 720 | 10878505.7788
521 | 7867057.6819 | 571 | 8623676.7978 | 621 | 9380330.8183 | 671 | 10136984.8387 | 721 | 10893638.8592
522 | 7882189.0337 | 572 | 8638809.8782 | 622 | 9395463.8987 | 672 | 10152117.9192 | 722 | 10908771.9396
523 | 7897320.3855 | 573 | 8653942.9586 | 623 | 9410596.9791 | 673 | 10167250.9996 | 723 | 10923904.9671
524 | 7912451.7372 | 574 | 8669076.039 | 624 | 9425730.0595 | 674 | 10182384.08 | 724 | 10939037.5575
525 | 7927583.089 | 575 | 8684209.1194 | 625 | 9440863.1399 | 675 | 10197517.1604 | 725 | 10954170.1479
526 | 7942714.4408 | 576 | 8699342.1999 | 626 | 9455996.2203 | 676 | 10212650.2408 | 726 | 10969302.7383
527 | 7957845.7926 | 577 | 8714475.2803 | 627 | 9471129.3007 | 677 | 10227783.3212 | 727 | 10984435.3288
528 | 7972977.1443 | 578 | 8729608.3607 | 628 | 9486262.3811 | 678 | 10242916.4016 | 728 | 10999567.9192
529 | 7988108.4961 | 579 | 8744741.4411 | 629 | 9501395.4616 | 679 | 10258049.482 | 729 | 11014700.5096
530 | 8003239.8479 | 580 | 8759874.5215 | 630 | 9516528.542 | 680 | 10273182.5624 | 730 | 11029833.1
531 | 8018371.1997 | 581 | 8775007.6019 | 631 | 9531661.6224 | 681 | 10288315.6428 | 731 | 11044965.6904
532 | 8033502.5514 | 582 | 8790140.6823 | 632 | 9546794.7028 | 682 | 10303448.7233 | 732 | 11060098.2808
533 | 8048633.9032 | 583 | 8805273.7627 | 633 | 9561927.7832 | 683 | 10318581.8037 | 733 | 11075230.8712
534 | 8063765.255 | 584 | 8820406.8431 | 634 | 9577060.8636 | 684 | 10333714.8841 | 734 | 11090363.4616
535 | 8078896.6068 | 585 | 8835539.9235 | 635 | 9592193.944 | 685 | 10348847.9645 | 735 | 11105496.052
536 | 8094027.9585 | 586 | 8850673.0039 | 636 | 9607327.0244 | 686 | 10363981.0449 | 736 | 11120628.6424
537 | 8109159.3103 | 587 | 8865806.0844 | 637 | 9622460.1048 | 687 | 10379114.1253 | 737 | 11135761.2329
538 | 8124290.6621 | 588 | 8880939.1648 | 638 | 9637593.1852 | 688 | 10394247.2057 | 738 | 11150893.8233
539 | 8139422.0139 | 589 | 8896072.2452 | 639 | 9652726.2656 | 689 | 10409380.2861 | 739 | 11166026.4137
540 | 8154553.3656 | 590 | 8911205.3256 | 640 | 9667859.3461 | 690 | 10424513.3665 | 740 | 11181159.0041
541 | 8169684.7174 | 591 | 8926338.406 | 641 | 9682992.4265 | 691 | 10439646.4469 | 741 | 11196291.5945
542 | 8184817.4659 | 592 | 8941471.4864 | 642 | 9698125.5069 | 692 | 10454779.5273 | 742 | 11211424.1849
543 | 8199950.5463 | 593 | 8956604.5668 | 643 | 9713258.5873 | 693 | 10469912.6078 | 743 | 11226556.7753
544 | 8215083.6268 | 594 | 8971737.6472 | 644 | 9728391.6677 | 694 | 10485045.6882 | 744 | 11241689.3657
545 | 8230216.7072 | 595 | 8986870.7276 | 645 | 9743524.7481 | 695 | 10500178.7686 | 745 | 11256821.9561
546 | 8245349.7876 | 596 | 9002003.808 | 646 | 9758657.8285 | 696 | 10515311.849 | 746 | 11271954.5466
547 | 8260482.868 | 597 | 9017136.8885 | 647 | 9773790.9089 | 697 | 10530444.9294 | 747 | 11287087.137
548 | 8275615.9484 | 598 | 9032269.9689 | 648 | 9788923.9893 | 698 | 10545578.0098 | 748 | 11302219.7274
549 | 8290749.0288 | 599 | 9047403.0493 | 649 | 9804057.0697 | 699 | 10560711.0902 | 749 | 11317352.3178
550 | 8305882.1092 | 600 | 9062536.1297 | 650 | 9819190.1501 | 700 | 10575844.1706 | 750 | 11332484.9082
MM | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
LITER | 1513.5193 | 3027.0386 | 4540.5579 | 6054.0772 | 7567.5965 | 9081.1158 | 10594.6351 | 12108.1545 | 13621.6738
CHECKED BY: ALAGHBAND APPROVED BY: SUPERVISION ON PETROLUM EXPORT&DOMESTIC TRANSACTION
N.I.O.P.D.C
PAGE:4
TANK | TK.198(GASOLINE) |  |  | TANK CAPACITY TABLE
CM | LITRES | CM | LITRES | CM | LITRES | CM | LITRES | CM | LITRES
751 | 11347617.4986 | 801 | 12104247.0191 | 851 | 12860876.5396 | 901 | 13617506.0601 | 951 | 14374619.7214
752 | 11362750.089 | 802 | 12119379.6095 | 852 | 12876009.13 | 902 | 13632638.6505 | 952 | 14389762.8119
753 | 11377882.6794 | 803 | 12134512.1999 | 853 | 12891141.7204 | 903 | 13647771.2409 | 953 | 14404905.9025
754 | 11393015.2698 | 804 | 12149644.7903 | 854 | 12906274.3108 | 904 | 13662903.8314 | 954 | 14420048.9931
755 | 11408147.8602 | 805 | 12164777.3808 | 855 | 12921406.9013 | 905 | 13678037.5558 | 955 | 14435192.0836
756 | 11423280.4507 | 806 | 12179909.9712 | 856 | 12936539.4917 | 906 | 13693180.6463 | 956 | 14450335.1742
757 | 11438413.0411 | 807 | 12195042.5616 | 857 | 12951672.0821 | 907 | 13708323.7369 | 957 | 14465478.2647
758 | 11453545.6315 | 808 | 12210175.152 | 858 | 12966804.6725 | 908 | 13723466.8275 | 958 | 14480621.3553
759 | 11468678.2219 | 809 | 12225307.7424 | 859 | 12981937.2629 | 909 | 13738609.918 | 959 | 14495764.4458
760 | 11483810.8123 | 810 | 12240440.3328 | 860 | 12997069.8533 | 910 | 13753753.0086 | 960 | 14510907.5364
761 | 11498943.4027 | 811 | 12255572.9232 | 861 | 13012202.4437 | 911 | 13768896.0991 | 961 | 14526050.627
762 | 11514075.9931 | 812 | 12270705.5136 | 862 | 13027335.0341 | 912 | 13784039.1897 | 962 | 14541193.7175
763 | 11529208.5835 | 813 | 12285838.104 | 863 | 13042467.6245 | 913 | 13799182.2802 | 963 | 14556336.8081
764 | 11544341.1739 | 814 | 12300970.6944 | 864 | 13057600.215 | 914 | 13814325.3708 | 964 | 14571479.8986
765 | 11559473.7643 | 815 | 12316103.2849 | 865 | 13072732.8054 | 915 | 13829468.4614 | 965 | 14586622.9892
766 | 11574606.3548 | 816 | 12331235.8753 | 866 | 13087865.3958 | 916 | 13844611.5519 | 966 | 14601766.0797
767 | 11589738.9452 | 817 | 12346368.4657 | 867 | 13102997.9862 | 917 | 13859754.6425 | 967 | 14616909.1703
768 | 11604871.5356 | 818 | 12361501.0561 | 868 | 13118130.5766 | 918 | 13874897.733 | 968 | 14632052.2609
769 | 11620004.126 | 819 | 12376633.6465 | 869 | 13133263.167 | 919 | 13890040.8236 | 969 | 14647195.3514
770 | 11635136.7164 | 820 | 12391766.2369 | 870 | 13148395.7574 | 920 | 13905183.9141 | 970 | 14662338.442
771 | 11650269.3068 | 821 | 12406898.8273 | 871 | 13163528.3478 | 921 | 13920327.0047 | 971 | 14677481.5325
772 | 11665401.8972 | 822 | 12422031.4177 | 872 | 13178660.9382 | 922 | 13935470.0952 | 972 | 14692624.6231
773 | 11680534.4876 | 823 | 12437164.0081 | 873 | 13193793.5286 | 923 | 13950613.1858 | 973 | 14707767.7136
774 | 11695667.078 | 824 | 12452296.5985 | 874 | 13208926.1191 | 924 | 13965756.2764 | 974 | 14722910.8042
775 | 11710799.6684 | 825 | 12467429.189 | 875 | 13224058.7095 | 925 | 13980899.3669 | 975 | 14738053.8947
776 | 11725932.2589 | 826 | 12482561.7794 | 876 | 13239191.2999 | 926 | 13996042.4575 | 976 | 14753196.9853
777 | 11741064.8493 | 827 | 12497694.3698 | 877 | 13254323.8903 | 927 | 14011185.548 | 977 | 14768340.0759
778 | 11756197.4397 | 828 | 12512826.9602 | 878 | 13269456.4807 | 928 | 14026328.6386 | 978 | 14783483.1664
779 | 11771330.0301 | 829 | 12527959.5506 | 879 | 13284589.0711 | 929 | 14041471.7291 | 979 | 14798626.257
780 | 11786462.6205 | 830 | 12543092.141 | 880 | 13299721.6615 | 930 | 14056614.8197 | 980 | 14813769.3475
781 | 11801595.2109 | 831 | 12558224.7314 | 881 | 13314854.2519 | 931 | 14071757.9103 | 981 | 14828912.4381
782 | 11816727.8013 | 832 | 12573357.3218 | 882 | 13329986.8423 | 932 | 14086901.0008 | 982 | 14844055.5286
783 | 11831860.3917 | 833 | 12588489.9122 | 883 | 13345119.4327 | 933 | 14102044.0914 | 983 | 14859198.6192
784 | 11846992.9821 | 834 | 12603622.5026 | 884 | 13360252.0232 | 934 | 14117187.1819 | 984 | 14874341.7098
785 | 11862125.5725 | 835 | 12618755.0931 | 885 | 13375384.6136 | 935 | 14132330.2725 | 985 | 14889484.8003
786 | 11877258.163 | 836 | 12633887.6835 | 886 | 13390517.204 | 936 | 14147473.363 | 986 | 14904627.8909
787 | 11892390.7534 | 837 | 12649020.2739 | 887 | 13405649.7944 | 937 | 14162616.4536 | 987 | 14919770.9814
788 | 11907523.3438 | 838 | 12664152.8643 | 888 | 13420782.3848 | 938 | 14177759.5442 | 988 | 14934914.072
789 | 11922655.9342 | 839 | 12679285.4547 | 889 | 13435914.9752 | 939 | 14192902.6347 | 989 | 14950057.1625
790 | 11937788.5246 | 840 | 12694418.0451 | 890 | 13451047.5656 | 940 | 14208045.7253 | 990 | 14965200.2531
791 | 11952921.115 | 841 | 12709550.6355 | 891 | 13466180.156 | 941 | 14223188.8158 | 991 | 14980343.3437
792 | 11968053.7054 | 842 | 12724683.2259 | 892 | 13481312.7464 | 942 | 14238331.9064 | 992 | 14995486.4342
793 | 11983186.2958 | 843 | 12739815.8163 | 893 | 13496445.3368 | 943 | 14253474.9969 | 993 | 15010629.5248
794 | 11998318.8862 | 844 | 12754948.4067 | 894 | 13511577.9273 | 944 | 14268618.0875 | 994 | 15025772.6153
795 | 12013451.4766 | 845 | 12770080.9972 | 895 | 13526710.5177 | 945 | 14283761.178 | 995 | 15040915.7059
796 | 12028584.0671 | 846 | 12785213.5876 | 896 | 13541843.1081 | 946 | 14298904.2686 | 996 | 15056058.7964
797 | 12043716.6575 | 847 | 12800346.178 | 897 | 13556975.6985 | 947 | 14314047.3592 | 997 | 15071201.887
798 | 12058849.2479 | 848 | 12815478.7684 | 898 | 13572108.2889 | 948 | 14329190.4497 | 998 | 15086344.9776
799 | 12073981.8383 | 849 | 12830611.3588 | 899 | 13587240.8793 | 949 | 14344333.5403 | 999 | 15101488.0681
800 | 12089114.4287 | 850 | 12845743.9492 | 900 | 13602373.4697 | 950 | 14359476.6308 | 1000 | 15116631.1587
MM | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
LITER | 1513.5193 | 3027.0386 | 4540.5579 | 6054.0772 | 7567.5965 | 9081.1158 | 10594.6351 | 12108.1545 | 13621.6738
CHECKED BY: ALAGHBAND APPROVED BY: SUPERVISION ON PETROLUM EXPORT&DOMESTIC TRANSACTION
N.I.O.P.D.C
PAGE:5
TANK | TK.198(GASOLINE) |  |  | TANK CAPACITY TABLE
CM | LITRES | CM | LITRES | CM | LITRES | CM | LITRES | CM | LITRES
1001 | 15131774.2492 | 1051 | 15888928.7771 | 1101 | 16646094.781 | 1151 | 17403289.4125 | 1201 | 18160484.0441
1002 | 15146917.3398 | 1052 | 15904071.8676 | 1102 | 16661238.6736 | 1152 | 17418433.3052 | 1202 | 18175627.9368
1003 | 15162060.4303 | 1053 | 15919214.9582 | 1103 | 16676382.5662 | 1153 | 17433577.1978 | 1203 | 18190771.8294
1004 | 15177203.5209 | 1054 | 15934358.0487 | 1104 | 16691526.4589 | 1154 | 17448721.0904 | 1204 | 18205915.722
1005 | 15192346.6114 | 1055 | 15949501.1393 | 1105 | 16706670.3515 | 1155 | 17463864.9831 | 1205 | 18221059.6147
1006 | 15207489.702 | 1056 | 15964644.2298 | 1106 | 16721814.2441 | 1156 | 17479008.8757 | 1206 | 18236203.5073
1007 | 15222632.7926 | 1057 | 15979787.3204 | 1107 | 16736958.1368 | 1157 | 17494152.7683 | 1207 | 18251347.3999
1008 | 15237775.8831 | 1058 | 15994930.4109 | 1108 | 16752102.0294 | 1158 | 17509296.661 | 1208 | 18266491.2925
1009 | 15252918.9737 | 1059 | 16010073.5015 | 1109 | 16767245.922 | 1159 | 17524440.5536 | 1209 | 18281635.1852
1010 | 15268062.0642 | 1060 | 16025216.5921 | 1110 | 16782389.8147 | 1160 | 17539584.4462 | 1210 | 18296779.0778
1011 | 15283205.1548 | 1061 | 16040359.6826 | 1111 | 16797533.7073 | 1161 | 17554728.3389 | 1211 | 18311922.9704
1012 | 15298348.2453 | 1062 | 16055502.7732 | 1112 | 16812677.5999 | 1162 | 17569872.2315 | 1212 | 18327066.8631
1013 | 15313491.3359 | 1063 | 16070645.8637 | 1113 | 16827821.4925 | 1163 | 17585016.1241 | 1213 | 18342210.7557
1014 | 15328634.4265 | 1064 | 16085788.9543 | 1114 | 16842965.3852 | 1164 | 17600160.0168 | 1214 | 18357354.6483
1015 | 15343777.517 | 1065 | 16100932.0448 | 1115 | 16858109.2778 | 1165 | 17615303.9094 | 1215 | 18372498.541
1016 | 15358920.6076 | 1066 | 16116075.1354 | 1116 | 16873253.1704 | 1166 | 17630447.802 | 1216 | 18387642.4336
1017 | 15374063.6981 | 1067 | 16131218.226 | 1117 | 16888397.0631 | 1167 | 17645591.6947 | 1217 | 18402786.3262
1018 | 15389206.7887 | 1068 | 16146361.3165 | 1118 | 16903540.9557 | 1168 | 17660735.5873 | 1218 | 18417930.2189
1019 | 15404349.8792 | 1069 | 16161504.4071 | 1119 | 16918684.8483 | 1169 | 17675879.4799 | 1219 | 18433074.1115
1020 | 15419492.9698 | 1070 | 16176647.4976 | 1120 | 16933828.741 | 1170 | 17691023.3725 | 1220 | 18448218.0041
1021 | 15434636.0604 | 1071 | 16191790.5882 | 1121 | 16948972.6336 | 1171 | 17706167.2652 | 1221 | 18463361.8968
1022 | 15449779.1509 | 1072 | 16206933.6787 | 1122 | 16964116.5262 | 1172 | 17721311.1578 | 1222 | 18478505.7894
1023 | 15464922.2415 | 1073 | 16222076.7693 | 1123 | 16979260.4189 | 1173 | 17736455.0504 | 1223 | 18493649.682
1024 | 15480065.332 | 1074 | 16237219.8599 | 1124 | 16994404.3115 | 1174 | 17751598.9431 | 1224 | 18508793.5747
1025 | 15495208.4226 | 1075 | 16252362.9504 | 1125 | 17009548.2041 | 1175 | 17766742.8357 | 1225 | 18523937.4673
1026 | 15510351.5131 | 1076 | 16267506.041 | 1126 | 17024692.0968 | 1176 | 17781886.7283 | 1226 | 18539081.3599
1027 | 15525494.6037 | 1077 | 16282649.1315 | 1127 | 17039835.9894 | 1177 | 17797030.621 | 1227 | 18554225.2525
1028 | 15540637.6942 | 1078 | 16297792.2221 | 1128 | 17054979.882 | 1178 | 17812174.5136 | 1228 | 18569369.1452
1029 | 15555780.7848 | 1079 | 16312935.3126 | 1129 | 17070123.7747 | 1179 | 17827318.4062 | 1229 | 18584513.0378
1030 | 15570923.8754 | 1080 | 16328078.4032 | 1130 | 17085267.6673 | 1180 | 17842462.2989 | 1230 | 18599656.9304
1031 | 15586066.9659 | 1081 | 16343221.4938 | 1131 | 17100411.5599 | 1181 | 17857606.1915 | 1231 | 18614800.8231
1032 | 15601210.0565 | 1082 | 16358364.5843 | 1132 | 17115555.4525 | 1182 | 17872750.0841 | 1232 | 18629944.7157
1033 | 15616353.147 | 1083 | 16373507.6749 | 1133 | 17130699.3452 | 1183 | 17887893.9768 | 1233 | 18645088.6083
1034 | 15631496.2376 | 1084 | 16388650.7654 | 1134 | 17145843.2378 | 1184 | 17903037.8694 | 1234 | 18660232.501
1035 | 15646639.3281 | 1085 | 16403793.856 | 1135 | 17160987.1304 | 1185 | 17918181.762 | 1235 | 18675376.3936
1036 | 15661782.4187 | 1086 | 16418936.9465 | 1136 | 17176131.0231 | 1186 | 17933325.6547 | 1236 | 18690520.2862
1037 | 15676925.5093 | 1087 | 16434080.2841 | 1137 | 17191274.9157 | 1187 | 17948469.5473 | 1237 | 18705664.1789
1038 | 15692068.5998 | 1088 | 16449224.1768 | 1138 | 17206418.8083 | 1188 | 17963613.4399 | 1238 | 18720808.0715
1039 | 15707211.6904 | 1089 | 16464368.0694 | 1139 | 17221562.701 | 1189 | 17978757.3325 | 1239 | 18735951.9641
1040 | 15722354.7809 | 1090 | 16479511.962 | 1140 | 17236706.5936 | 1190 | 17993901.2252 | 1240 | 18751095.8568
1041 | 15737497.8715 | 1091 | 16494655.8547 | 1141 | 17251850.4862 | 1191 | 18009045.1178 | 1241 | 18766239.7494
1042 | 15752640.962 | 1092 | 16509799.7473 | 1142 | 17266994.3789 | 1192 | 18024189.0104 | 1242 | 18781383.642
1043 | 15767784.0526 | 1093 | 16524943.6399 | 1143 | 17282138.2715 | 1193 | 18039332.9031 | 1243 | 18796527.5347
1044 | 15782927.1432 | 1094 | 16540087.5325 | 1144 | 17297282.1641 | 1194 | 18054476.7957 | 1244 | 18811671.4273
1045 | 15798070.2337 | 1095 | 16555231.4252 | 1145 | 17312426.0568 | 1195 | 18069620.6883 | 1245 | 18826815.3199
1046 | 15813213.3243 | 1096 | 16570375.3178 | 1146 | 17327569.9494 | 1196 | 18084764.581 | 1246 | 18841959.2125
1047 | 15828356.4148 | 1097 | 16585519.2104 | 1147 | 17342713.842 | 1197 | 18099908.4736 | 1247 | 18857103.1052
1048 | 15843499.5054 | 1098 | 16600663.1031 | 1148 | 17357857.7347 | 1198 | 18115052.3662 | 1248 | 18872246.9978
1049 | 15858642.5959 | 1099 | 16615806.9957 | 1149 | 17373001.6273 | 1199 | 18130196.2589 | 1249 | 18887390.8904
1050 | 15873785.6865 | 1100 | 16630950.8883 | 1150 | 17388145.5199 | 1200 | 18145340.1515 | 1250 | 18902534.7831
MM | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
LITER | 1513.5193 | 3027.0386 | 4540.5579 | 6054.0772 | 7567.5965 | 9081.1158 | 10594.6351 | 12108.1545 | 13621.6738
CHECKED BY: ALAGHBAND APPROVED BY: SUPERVISION ON PETROLUM EXPORT&DOMESTIC TRANSACTION
N.I.O.P.D.C
PAGE:6
TANK | TK.198(GASOLINE) |  |  | TANK CAPACITY TABLE
CM | LITRES | CM | LITRES | CM | LITRES | CM | LITRES | CM | LITRES
1251 | 18917678.6757 | 1301 | 19674618.2349 | 1351 | 20431531.3793 | 1401 | 21188444.5237 | 1451 | 21945357.6681
1252 | 18932822.5683 | 1302 | 19689756.4977 | 1352 | 20446669.6421 | 1402 | 21203582.7865 | 1452 | 21960495.9309
1253 | 18947966.461 | 1303 | 19704894.7606 | 1353 | 20461807.905 | 1403 | 21218721.0494 | 1453 | 21975634.1938
1254 | 18963110.3536 | 1304 | 19720033.0235 | 1354 | 20476946.1679 | 1404 | 21233859.3123 | 1454 | 21990772.4567
1255 | 18978254.2462 | 1305 | 19735171.2864 | 1355 | 20492084.4308 | 1405 | 21248997.5752 | 1455 | 22005910.7196
1256 | 18993396.4049 | 1306 | 19750309.5493 | 1356 | 20507222.6937 | 1406 | 21264135.8381 | 1456 | 22021048.9825
1257 | 19008534.6678 | 1307 | 19765447.8122 | 1357 | 20522360.9566 | 1407 | 21279274.101 | 1457 | 22036187.2454
1258 | 19023672.9307 | 1308 | 19780586.0751 | 1358 | 20537499.2195 | 1408 | 21294412.3639 | 1457.09 | 22037579.9656
1259 | 19038811.1936 | 1309 | 19795724.338 | 1359 | 20552637.4824 | 1409 | 21309550.6268
1260 | 19053949.4565 | 1310 | 19810862.6009 | 1360 | 20567775.7452 | 1410 | 21324688.8896
1261 | 19069087.7193 | 1311 | 19826000.8637 | 1361 | 20582914.0081 | 1411 | 21339827.1525
1262 | 19084225.9822 | 1312 | 19841139.1266 | 1362 | 20598052.271 | 1412 | 21354965.4154
1263 | 19099364.2451 | 1313 | 19856277.3895 | 1363 | 20613190.5339 | 1413 | 21370103.6783
1264 | 19114502.508 | 1314 | 19871415.6524 | 1364 | 20628328.7968 | 1414 | 21385241.9412
1265 | 19129640.7709 | 1315 | 19886553.9153 | 1365 | 20643467.0597 | 1415 | 21400380.2041
1266 | 19144779.0338 | 1316 | 19901692.1782 | 1366 | 20658605.3226 | 1416 | 21415518.467
1267 | 19159917.2967 | 1317 | 19916830.4411 | 1367 | 20673743.5855 | 1417 | 21430656.7299
1268 | 19175055.5596 | 1318 | 19931968.704 | 1368 | 20688881.8484 | 1418 | 21445794.9928
1269 | 19190193.8224 | 1319 | 19947106.9668 | 1369 | 20704020.1112 | 1419 | 21460933.2556
1270 | 19205332.0853 | 1320 | 19962245.2297 | 1370 | 20719158.3741 | 1420 | 21476071.5185
1271 | 19220470.3482 | 1321 | 19977383.4926 | 1371 | 20734296.637 | 1421 | 21491209.7814
1272 | 19235608.6111 | 1322 | 19992521.7555 | 1372 | 20749434.8999 | 1422 | 21506348.0443
1273 | 19250746.874 | 1323 | 20007660.0184 | 1373 | 20764573.1628 | 1423 | 21521486.3072
1274 | 19265885.1369 | 1324 | 20022798.2813 | 1374 | 20779711.4257 | 1424 | 21536624.5701
1275 | 19281023.3998 | 1325 | 20037936.5442 | 1375 | 20794849.6886 | 1425 | 21551762.833
1276 | 19296161.6627 | 1326 | 20053074.8071 | 1376 | 20809987.9515 | 1426 | 21566901.0959
1277 | 19311299.9255 | 1327 | 20068213.0699 | 1377 | 20825126.2143 | 1427 | 21582039.3587
1278 | 19326438.1884 | 1328 | 20083351.3328 | 1378 | 20840264.4772 | 1428 | 21597177.6216
1279 | 19341576.4513 | 1329 | 20098489.5957 | 1379 | 20855402.7401 | 1429 | 21612315.8845
1280 | 19356714.7142 | 1330 | 20113627.8586 | 1380 | 20870541.003 | 1430 | 21627454.1474
1281 | 19371852.9771 | 1331 | 20128766.1215 | 1381 | 20885679.2659 | 1431 | 21642592.4103
1282 | 19386991.24 | 1332 | 20143904.3844 | 1382 | 20900817.5288 | 1432 | 21657730.6732
1283 | 19402129.5029 | 1333 | 20159042.6473 | 1383 | 20915955.7917 | 1433 | 21672868.9361
1284 | 19417267.7658 | 1334 | 20174180.9102 | 1384 | 20931094.0546 | 1434 | 21688007.199
1285 | 19432406.0287 | 1335 | 20189319.1731 | 1385 | 20946232.3174 | 1435 | 21703145.4618
1286 | 19447544.2915 | 1336 | 20204457.4359 | 1386 | 20961370.5803 | 1436 | 21718283.7247
1287 | 19462682.5544 | 1337 | 20219595.6988 | 1387 | 20976508.8432 | 1437 | 21733421.9876
1288 | 19477820.8173 | 1338 | 20234733.9617 | 1388 | 20991647.1061 | 1438 | 21748560.2505
1289 | 19492959.0802 | 1339 | 20249872.2246 | 1389 | 21006785.369 | 1439 | 21763698.5134
1290 | 19508097.3431 | 1340 | 20265010.4875 | 1390 | 21021923.6319 | 1440 | 21778836.7763
1291 | 19523235.606 | 1341 | 20280148.7504 | 1391 | 21037061.8948 | 1441 | 21793975.0392
1292 | 19538373.8689 | 1342 | 20295287.0133 | 1392 | 21052200.1577 | 1442 | 21809113.3021
1293 | 19553512.1318 | 1343 | 20310425.2762 | 1393 | 21067338.4206 | 1443 | 21824251.5649
1294 | 19568650.3946 | 1344 | 20325563.539 | 1394 | 21082476.6834 | 1444 | 21839389.8278
1295 | 19583788.6575 | 1345 | 20340701.8019 | 1395 | 21097614.9463 | 1445 | 21854528.0907
1296 | 19598926.9204 | 1346 | 20355840.0648 | 1396 | 21112753.2092 | 1446 | 21869666.3536
1297 | 19614065.1833 | 1347 | 20370978.3277 | 1397 | 21127891.4721 | 1447 | 21884804.6165
1298 | 19629203.4462 | 1348 | 20386116.5906 | 1398 | 21143029.735 | 1448 | 21899942.8794
1299 | 19644341.7091 | 1349 | 20401254.8535 | 1399 | 21158167.9979 | 1449 | 21915081.1423
1300 | 19659479.972 | 1350 | 20416393.1164 | 1400 | 21173306.2608 | 1450 | 21930219.4052
MM | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
LITER | 1513.5193 | 3027.0386 | 4540.5579 | 6054.0772 | 7567.5965 | 9081.1158 | 10594.6351 | 12108.1545 | 13621.6738
CHECKED BY: ALAGHBAND APPROVED BY: SUPERVISION ON PETROLUM EXPORT&DOMESTIC TRANSACTION
Note on J115: najafi: